## Sheet1
AHRI Test Report - Room Fan Coil Certification Program - Unoffical RFC-DS2 Form
Manufacturer Name:
Location of the Test:
Date of the Test:
Basic Model Group Identification (from RFC-DS1):
Model & Size Designation (from RFC-DS1):
Unit Model Number (from Equipment Nameplate):
Serial Number:
Voltage, Frequency and Phase [Volts/Hz/Ph]:
| TITLE OF TEST | CERTIFIED | MEASURED | RATING RATIO, % | RESULT OF TEST [P/F]
STANDARD RATINGS
Total Cooling Capacity, BTU/H
Max or High Speed @ 80/67/45 F
Max or High Speed @ 75/63/45 F
Medium Speed @ 75/63/45 F
Sensible Cooling, BTU/H
Max or High Speed @ 80/67/45 F
Max or High Speed @ 75/63/45 F
Medium Speed @ 75/63/45 F
Power Input, Watts
Max or High Speed
Medium Speed
Airflow Rate SCFM
Max or High Speed
Medium Speed
Water-Pressure Drop, Ft H2O
Max or High Speed
Medium Speed
Fluid Flow Rate, GPM
Max or High Speed @ 80/67/45 F
Max or High Speed @ 75/63/45 F
Medium Speed @ 75/63/45 F
OPERATING REQUIREMENTS
Insulation Efficiency
Low Voltage Test