## Packaged
Data current as of 05-09-2024
The data provided are the representations submitted to DOE by manufacturers and their third party representatives. DOE makes no representations or warranties regarding the accuracy of the data.
Brand | Model Number | Cooling Capacity (BTU/hr) | SEER2 | EER2 | AHRI Certified Reference Number (if Applicable)
AC PRO | PRPAC1624VP-* | 23800 | 15.2 | 11.8 | 206862984
CONCORD | PRPG*1660-***VP-* | 57000 | 15.2 | 11.5 | 206862977
CONCORD | PRPG*1648-***VP-* | 46000 | 15.2 | 11.5 | 206862976
CONCORD | PRPG*1624-***VP-* | 23800 | 15.2 | 11.8 | 206862974
CONCORD | PRPAC1660VP-* | 57000 | 15.2 | 11.5 | 206862967
CONCORD | PRPAC1648VP-* | 46000 | 15.2 | 11.5 | 206862966
CONCORD | PRPAC1624VP-* | 23800 | 15.2 | 11.8 | 206862964
DUCANE | PRPG*1660-***VP-* | 57000 | 15.2 | 11.5 | 206862957
DUCANE | PRPG*1648-***VP-* | 46000 | 15.2 | 11.5 | 206862956
DUCANE | PRPG*1624-***VP-* | 23800 | 15.2 | 11.8 | 206862954
DUCANE | PRPAC1660VP-* | 57000 | 15.2 | 11.5 | 206862947
DUCANE | PRPAC1648VP-* | 46000 | 15.2 | 11.5 | 206862946
DUCANE | PRPAC1624VP-* | 23800 | 15.2 | 11.8 | 206862944
AIREASE | PRPG*1660-***VP-* | 57000 | 15.2 | 11.5 | 206862937
AIREASE | PRPG*1648-***VP-* | 46000 | 15.2 | 11.5 | 206862936
AIREASE | PRPG*1624-***VP-* | 23800 | 15.2 | 11.8 | 206862934
AIREASE | PRPAC1660VP-* | 57000 | 15.2 | 11.5 | 206862927
AIREASE | PRPAC1648VP-* | 46000 | 15.2 | 11.5 | 206862926
AIREASE | PRPAC1624VP-* | 23800 | 15.2 | 11.8 | 206862924
ARMSTRONG AIR | PRPG*1660-***VP-* | 57000 | 15.2 | 11.5 | 206860215
ARMSTRONG AIR | PRPG*1648-***VP-* | 46000 | 15.2 | 11.5 | 206860214
ARMSTRONG AIR | PRPG*1624-***VP-* | 23800 | 15.2 | 11.8 | 206860212
ARMSTRONG AIR | PRPAC1660VP-* | 57000 | 15.2 | 11.5 | 206860205
ARMSTRONG AIR | PRPAC1648VP-* | 46000 | 15.2 | 11.5 | 206860204
ARMSTRONG AIR | PRPAC1624VP-* | 23800 | 15.2 | 11.8 | 206860202
ROYALTON | PRPG*1660-***VP-* | 57000 | 15.2 | 11.5 | 207542407
ROYALTON | PRPG*1648-***VP-* | 46000 | 15.2 | 11.5 | 207542406
ROYALTON | PRPG*1624-***VP-* | 23800 | 15.2 | 11.8 | 207542404
ROYALTON | PRPAC1660VP-* | 57000 | 15.2 | 11.5 | 207542397
ROYALTON | PRPAC1648VP-* | 46000 | 15.2 | 11.5 | 207542396
ROYALTON | PRPAC1624VP-* | 23800 | 15.2 | 11.8 | 207542394
GE | NP16G60V***-* | 57000 | 15.2 | 11.5 | 209833946
GE | NP16G48V***-* | 46000 | 15.2 | 11.5 | 209833945
GE | NP16G24V***-* | 23800 | 15.2 | 11.8 | 209833943
LENNOX | LRP16G*60-***VP-* | 57000 | 15.2 | 11.5 | 206903366
LENNOX | LRP16G*48-***VP-* | 46000 | 15.2 | 11.5 | 206903365
LENNOX | LRP16G*24-***VP-* | 23800 | 15.2 | 11.8 | 206903363
ALLIED | PRPG*1660-***VP-* | 57000 | 15.2 | 11.5 | 206863023
ALLIED | PRPG*1648-***VP-* | 46000 | 15.2 | 11.5 | 206863022
ALLIED | PRPG*1624-***VP-* | 23800 | 15.2 | 11.8 | 206863019
ALLIED | PRPAC1660VP-* | 57000 | 15.2 | 11.5 | 206863012
ALLIED | PRPAC1648VP-* | 46000 | 15.2 | 11.5 | 206863011
ALLIED | PRPAC1624VP-* | 23800 | 15.2 | 11.8 | 206863008
AC PRO | PRPG*1660-***VP-* | 57000 | 15.2 | 11.5 | 206862999
AC PRO | PRPG*1648-***VP-* | 46000 | 15.2 | 11.5 | 206862998
AC PRO | PRPG*1624-***VP-* | 23800 | 15.2 | 11.8 | 206862996
AC PRO | PRPAC1660VP-* | 57000 | 15.2 | 11.5 | 206862987
AC PRO | PRPAC1648VP-* | 46000 | 15.2 | 11.5 | 206862986
BRYANT HEATING AND COOLING SYSTEMS | 581KJ06(1,3,4,8)* | 59000 | 16.5 | 12 | 211004066
BRYANT HEATING AND COOLING SYSTEMS | 551KJ061* | 59000 | 16.5 | 12 | 211004064
BRYANT HEATING AND COOLING SYSTEMS | 581KJ04(1,3,4,8)* | 35000 | 16 | 12 | 211004061
BRYANT HEATING AND COOLING SYSTEMS | 581KJ05(1,3,4,8)* | 46500 | 16 | 12 | 211004063
BRYANT HEATING AND COOLING SYSTEMS | 551KJ051* | 46500 | 16 | 12 | 211004062
BRYANT HEATING AND COOLING SYSTEMS | 551KJ041* | 35000 | 16 | 12 | 211004060
TEMPSTAR | RGW061K* | 59000 | 16.5 | 12 | 211003835
KEEPRITE | RGW061K* | 59000 | 16.5 | 12 | 211003834
ICP COMMERCIAL | RGW061K* | 59000 | 16.5 | 12 | 211003833
HEIL | RGW061K* | 59000 | 16.5 | 12 | 211003832
ARCOAIRE | RGW061K* | 59000 | 16.5 | 12 | 211003829
DAY & NIGHT | RGW061K* | 59000 | 16.5 | 12 | 211003831
COMFORTMAKER | RGW061K* | 59000 | 16.5 | 12 | 211003830
AIRQUEST | RGW061K* | 59000 | 16.5 | 12 | 211003828
TEMPSTAR | RAW061K* | 59000 | 16.5 | 12 | 211003827
HEIL | RAW061K* | 59000 | 16.5 | 12 | 211003824
KEEPRITE | RAW061K* | 59000 | 16.5 | 12 | 211003826
ICP COMMERCIAL | RAW061K* | 59000 | 16.5 | 12 | 211003825
COMFORTMAKER | RAW061K* | 59000 | 16.5 | 12 | 211003822
ARCOAIRE | RAW061K* | 59000 | 16.5 | 12 | 211003821
TEMPSTAR | RGW049K* | 46500 | 16 | 12 | 211003819
DAY & NIGHT | RAW061K* | 59000 | 16.5 | 12 | 211003823
AIRQUEST | RAW061K* | 59000 | 16.5 | 12 | 211003820
KEEPRITE | RGW049K* | 46500 | 16 | 12 | 211003818
ICP COMMERCIAL | RGW049K* | 46500 | 16 | 12 | 211003817
HEIL | RGW049K* | 46500 | 16 | 12 | 211003816
DAY & NIGHT | RGW049K* | 46500 | 16 | 12 | 211003815
COMFORTMAKER | RGW049K* | 46500 | 16 | 12 | 211003814
TEMPSTAR | RAW049K* | 46500 | 16 | 12 | 211003811
ARCOAIRE | RGW049K* | 46500 | 16 | 12 | 211003813
AIRQUEST | RGW049K* | 46500 | 16 | 12 | 211003812
KEEPRITE | RAW049K* | 46500 | 16 | 12 | 211003810
ICP COMMERCIAL | RAW049K* | 46500 | 16 | 12 | 211003809
HEIL | RAW049K* | 46500 | 16 | 12 | 211003808
DAY & NIGHT | RAW049K* | 46500 | 16 | 12 | 211003807
COMFORTMAKER | RAW049K* | 46500 | 16 | 12 | 211003806
ARCOAIRE | RAW049K* | 46500 | 16 | 12 | 211003805
AIRQUEST | RAW049K* | 46500 | 16 | 12 | 211003804
TEMPSTAR | RGW037K* | 35000 | 16 | 12 | 211003803
KEEPRITE | RGW037K* | 35000 | 16 | 12 | 211003802
HEIL | RGW037K* | 35000 | 16 | 12 | 211003801
DAY & NIGHT | RGW037K* | 35000 | 16 | 12 | 211003800
COMFORTMAKER | RGW037K* | 35000 | 16 | 12 | 211003799
ARCOAIRE | RGW037K* | 35000 | 16 | 12 | 211003798
TEMPSTAR | RAW037K* | 35000 | 16 | 12 | 211003795
AIRQUEST | RGW037K* | 35000 | 16 | 12 | 211003797
ICP COMMERCIAL | RGW037K* | 35000 | 16 | 12 | 211003796
KEEPRITE | RAW037K* | 35000 | 16 | 12 | 211003794
HEIL | RAW037K* | 35000 | 16 | 12 | 211003793
DAY & NIGHT | RAW037K* | 35000 | 16 | 12 | 211003792
COMFORTMAKER | RAW037K* | 35000 | 16 | 12 | 211003791
ARCOAIRE | RAW037K* | 35000 | 16 | 12 | 211003790
ICP COMMERCIAL | RAW037K* | 35000 | 16 | 12 | 211003788
AIRQUEST | RAW037K* | 35000 | 16 | 12 | 211003789
CARRIER | 48GC*(T,H)06***3* | 59000 | 16.5 | 12 | 211003732
CARRIER | 50GC*(T,H)05***3* | 46500 | 16 | 12 | 211003729
CARRIER | 50GC*(T,H)06****3* | 59000 | 16.5 | 12 | 211003731
CARRIER | 48GC*(T,H)04***3* | 35000 | 16 | 12 | 211003728
CARRIER | 48GC*(T,H)05***3* | 46500 | 16 | 12 | 211003730
CARRIER | 50GC*(T,H)04***3* | 35000 | 16 | 12 | 211003727
TEMPSTAR | PAR548000K***K1 | 46500 | 16 | 11.8 | 211778718
TEMPSTAR | PAR536000K***K1 | 34800 | 15.2 | 11.5 | 211778717
TEMPSTAR | PAR524000K***K1 | 22200 | 15.2 | 11.5 | 211778716
KENMORE | PAR560000K***K1 | 56000 | 15.2 | 11.5 | 211778715
KENMORE | PAR548000K***K1 | 46500 | 16 | 11.8 | 211778714
KENMORE | PAR536000K***K1 | 34800 | 15.2 | 11.5 | 211778713
KENMORE | PAR524000K***K1 | 22200 | 15.2 | 11.5 | 211778712
KEEPRITE | PAR560000K***K1 | 56000 | 15.2 | 11.5 | 211778711
KEEPRITE | PAR548000K***K1 | 46500 | 16 | 11.8 | 211778710
KEEPRITE | PAR536000K***K1 | 34800 | 15.2 | 11.5 | 211778709
KEEPRITE | PAR524000K***K1 | 22200 | 15.2 | 11.5 | 211778708
ICP COMMERCIAL | PAR560000K***K1 | 56000 | 15.2 | 11.5 | 211778707
ICP COMMERCIAL | PAR548000K***K1 | 46500 | 16 | 11.8 | 211778706
ICP COMMERCIAL | PAR536000K***K1 | 34800 | 15.2 | 11.5 | 211778705
ICP COMMERCIAL | PAR524000K***K1 | 22200 | 15.2 | 11.5 | 211778704
HEIL | PAR560000K***K1 | 56000 | 15.2 | 11.5 | 211778703
HEIL | PAR548000K***K1 | 46500 | 16 | 11.8 | 211778702
HEIL | PAR536000K***K1 | 34800 | 15.2 | 11.5 | 211778701
HEIL | PAR524000K***K1 | 22200 | 15.2 | 11.5 | 211778700
DAY & NIGHT | PAR560000K***K1 | 56000 | 15.2 | 11.5 | 211778699
DAY & NIGHT | PAR548000K***K1 | 46500 | 16 | 11.8 | 211778698
DAY & NIGHT | PAR536000K***K1 | 34800 | 15.2 | 11.5 | 211778697
DAY & NIGHT | PAR524000K***K1 | 22200 | 15.2 | 11.5 | 211778696
ARCOAIRE | PAR548000K***K1 | 46500 | 16 | 11.8 | 211778694
ARCOAIRE | PAR560000K***K1 | 56000 | 15.2 | 11.5 | 211778695
ARCOAIRE | PAR536000K***K1 | 34800 | 15.2 | 11.5 | 211778693
ARCOAIRE | PAR524000K***K1 | 22200 | 15.2 | 11.5 | 211778692
COMFORTMAKER | PAR560000K***K1 | 56000 | 15.2 | 11.5 | 211778691
COMFORTMAKER | PAR548000K***K1 | 46500 | 16 | 11.8 | 211778690
COMFORTMAKER | PAR536000K***K1 | 34800 | 15.2 | 11.5 | 211778689
TEMPSTAR | PAR560000K***K1 | 56000 | 15.2 | 11.5 | 211778719
1HVAC | PAR524000K***K1 | 22200 | 15.2 | 11.5 | 211778720
1HVAC | PAR536000K***K1 | 34800 | 15.2 | 11.5 | 211778721
1HVAC | PAR548000K***K1 | 46500 | 16 | 11.8 | 211778722
1HVAC | PAR560000K***K1 | 56000 | 15.2 | 11.5 | 211778723
MARATHERM | PAR524000K***K1 | 22200 | 15.2 | 11.5 | 211778724
MARATHERM | PAR536000K***K1 | 34800 | 15.2 | 11.5 | 211778725
MARATHERM | PAR548000K***K1 | 46500 | 16 | 11.8 | 211778726
MARATHERM | PAR560000K***K1 | 56000 | 15.2 | 11.5 | 211778727
BRYANT HEATING & COOLING SYSTEMS | 577ENWK24****A* | 22200 | 15.2 | 11.5 | 211778728
BRYANT HEATING & COOLING SYSTEMS | 577ENWK36****A* | 34800 | 15.2 | 11.5 | 211778729
BRYANT HEATING & COOLING SYSTEMS | 577ENWK48****A* | 46500 | 16 | 11.8 | 211778730
BRYANT HEATING & COOLING SYSTEMS | 577ENWK60****A* | 56000 | 15.2 | 11.5 | 211778731
AIRQUEST | PGR524***K***K1 | 22200 | 15.2 | 11.5 | 211778732
AIRQUEST | PGR536***K***K1 | 34800 | 15.2 | 11.5 | 211778733
AIRQUEST | PGR548***K***K1 | 46500 | 16 | 11.8 | 211778734
AIRQUEST | PGR560***K***K1 | 56000 | 15.2 | 11.5 | 211778735
COMFORTMAKER | PGR524***K***K1 | 22200 | 15.2 | 11.5 | 211778736
COMFORTMAKER | PGR548***K***K1 | 46500 | 16 | 11.8 | 211778738
COMFORTMAKER | PGR536***K***K1 | 34800 | 15.2 | 11.5 | 211778737
COMFORTMAKER | PGR560***K***K1 | 56000 | 15.2 | 11.5 | 211778739
ARCOAIRE | PGR524***K***K1 | 22200 | 15.2 | 11.5 | 211778740
ARCOAIRE | PGR536***K***K1 | 34800 | 15.2 | 11.5 | 211778741
ARCOAIRE | PGR548***K***K1 | 46500 | 16 | 11.8 | 211778742
ARCOAIRE | PGR560***K***K1 | 56000 | 15.2 | 11.5 | 211778743
DAY & NIGHT | PGR536***K***K1 | 34800 | 15.2 | 11.5 | 211778745
DAY & NIGHT | PGR548***K***K1 | 46500 | 16 | 11.8 | 211778746
DAY & NIGHT | PGR524***K***K1 | 22200 | 15.2 | 11.5 | 211778744
DAY & NIGHT | PGR560***K***K1 | 56000 | 15.2 | 11.5 | 211778747
HEIL | PGR524***K***K1 | 22200 | 15.2 | 11.5 | 211778748
HEIL | PGR536***K***K1 | 34800 | 15.2 | 11.5 | 211778749
HEIL | PGR548***K***K1 | 46500 | 16 | 11.8 | 211778750
HEIL | PGR560***K***K1 | 56000 | 15.2 | 11.5 | 211778751
ICP COMMERCIAL | PGR524***K***K1 | 22200 | 15.2 | 11.5 | 211778752
ICP COMMERCIAL | PGR536***K***K1 | 34800 | 15.2 | 11.5 | 211778753
ICP COMMERCIAL | PGR548***K***K1 | 46500 | 16 | 11.8 | 211778754
ICP COMMERCIAL | PGR560***K***K1 | 56000 | 15.2 | 11.5 | 211778755
KEEPRITE | PGR524***K***K1 | 22200 | 15.2 | 11.5 | 211778756
KEEPRITE | PGR536***K***K1 | 34800 | 15.2 | 11.5 | 211778757
KEEPRITE | PGR548***K***K1 | 46500 | 16 | 11.8 | 211778758
KEEPRITE | PGR560***K***K1 | 56000 | 15.2 | 11.5 | 211778759
KENMORE | PGR536***K***K1 | 34800 | 15.2 | 11.5 | 211778761
KENMORE | PGR548***K***K1 | 46500 | 16 | 11.8 | 211778762
KENMORE | PGR524***K***K1 | 22200 | 15.2 | 11.5 | 211778760
TEMPSTAR | PGR524***K***K1 | 22200 | 15.2 | 11.5 | 211778764
TEMPSTAR | PGR536***K***K1 | 34800 | 15.2 | 11.5 | 211778765
KENMORE | PGR560***K***K1 | 56000 | 15.2 | 11.5 | 211778763
TEMPSTAR | PGR548***K***K1 | 46500 | 16 | 11.8 | 211778766
1HVAC | PGR524***K***K1 | 22200 | 15.2 | 11.5 | 211778768
TEMPSTAR | PGR560***K***K1 | 56000 | 15.2 | 11.5 | 211778767
1HVAC | PGR548***K***K1 | 46500 | 16 | 11.8 | 211778770
1HVAC | PGR536***K***K1 | 34800 | 15.2 | 11.5 | 211778769
MARATHERM | PGR536***K***K1 | 34800 | 15.2 | 11.5 | 211778773
MARATHERM | PGR524***K***K1 | 22200 | 15.2 | 11.5 | 211778772
1HVAC | PGR560***K***K1 | 56000 | 15.2 | 11.5 | 211778771
MARATHERM | PGR560***K***K1 | 56000 | 15.2 | 11.5 | 211778775
MARATHERM | PGR548***K***K1 | 46500 | 16 | 11.8 | 211778774
COMFORTMAKER | PAR524000K***K1 | 22200 | 15.2 | 11.5 | 211778688
AIRQUEST | PAR560000K***K1 | 56000 | 15.2 | 11.5 | 211778687
AIRQUEST | PAR548000K***K1 | 46500 | 16 | 11.8 | 211778686
AIRQUEST | PAR536000K***K1 | 34800 | 15.2 | 11.5 | 211778685
AIRQUEST | PAR524000K***K1 | 22200 | 15.2 | 11.5 | 211778684
BRYANT HEATING & COOLING SYSTEMS | 707ENXK60000AA* | 56000 | 15.2 | 11.5 | 211778683
BRYANT HEATING & COOLING SYSTEMS | 707ENXK48000AA* | 46500 | 16 | 11.8 | 211778682
BRYANT HEATING & COOLING SYSTEMS | 707ENXK36000AA* | 34800 | 15.2 | 11.5 | 211778681
BRYANT HEATING & COOLING SYSTEMS | 707ENXK24000AA* | 22200 | 15.2 | 11.5 | 211778680
CARRIER | 48VG*K60***30* | 56000 | 15.2 | 11.5 | 211774924
CARRIER | 48VG*K48***30* | 46500 | 16 | 11.8 | 211774923
CARRIER | 48VG*K24***30* | 22200 | 15.2 | 11.5 | 211774921
CARRIER | 48VG*K36***30* | 34800 | 15.2 | 11.5 | 211774922
CARRIER | 50VG-K60---30* | 56000 | 15.2 | 11.5 | 211774920
CARRIER | 50VG-K48---30* | 46500 | 16 | 11.8 | 211774918
CARRIER | 50VG-K36---30* | 34800 | 15.2 | 11.5 | 211774917
CARRIER | 50VG-K24---30* | 22200 | 15.2 | 11.5 | 211774915
WEATHERKING | RACAZS036AJT | 35000 | 15.2 | 11.5 | 211703519
RUUD | RACAZS036AJT | 35000 | 15.2 | 11.5 | 211703515
SURE | RACAZS036AJT | 35000 | 15.2 | 11.5 | 211703518
RUUD | RACAZS024AJT | 23400 | 15.2 | 11.5 | 211703508
RUSSELL | RACAZS036AJT | 35000 | 15.2 | 11.5 | 211703514
WEATHERKING | RACAZS024AJT | 23400 | 15.2 | 11.5 | 211703512
SURE | RACAZS024AJT | 23400 | 15.2 | 11.5 | 211703510
RUSSELL | RACAZS024AJT | 23400 | 15.2 | 11.5 | 211703507
RHEEM | RACAZS024AJT | 23400 | 15.2 | 11.5 | 211702606
RHEEM | RACAZS036AJT | 35000 | 15.2 | 11.5 | 211702609
WEATHERKING | RGEXZS060AJV | 57000 | 15.2 | 11.5 | 212600468
WEATHERKING | RGEXZS048AJV | 47500 | 15.2 | 11.5 | 212600467
WEATHERKING | RACXZS060AJT | 57000 | 15.2 | 11.5 | 212600466
WEATHERKING | RACXZS048AJT | 47500 | 15.2 | 11.5 | 212600465
SURE | RGEXZS048AJV | 47500 | 15.2 | 11.5 | 212600463
SURE | RGEXZS060AJV | 57000 | 15.2 | 11.5 | 212600464
SURE | RACXZS060AJT | 57000 | 15.2 | 11.5 | 212600462
SURE | RACXZS048AJT | 47500 | 15.2 | 11.5 | 212600461
RUUD | RGEXZS060AJV | 57000 | 15.2 | 11.5 | 212600460
RUUD | RGEXZS048AJV | 47500 | 15.2 | 11.5 | 212600459
RUUD | RACXZS060AJT | 57000 | 15.2 | 11.5 | 212600458
RUUD | RACXZS048AJT | 47500 | 15.2 | 11.5 | 212600457
RUSSELL | RGEXZS060AJV | 57000 | 15.2 | 11.5 | 212600456
RUSSELL | RGEXZS048AJV | 47500 | 15.2 | 11.5 | 212600455
RUSSELL | RACXZS060AJT | 57000 | 15.2 | 11.5 | 212600454
RUSSELL | RACXZS048AJT | 47500 | 15.2 | 11.5 | 212600453
RHEEM | RGEXZS060AJV | 57000 | 15.2 | 11.5 | 212600452
RHEEM | RGEXZS048AJV | 47500 | 15.2 | 11.5 | 212600451
RHEEM | RACXZS060AJT | 57000 | 15.2 | 11.5 | 212600450
RHEEM | RACXZS048AJT | 47500 | 15.2 | 11.5 | 212600449
THERMAL ZONE | RACAZS024AJT | 23400 | 15.2 | 11.5 | 212367394
THERMAL ZONE | RACAZS036AJT | 35000 | 15.2 | 11.5 | 212367395
MAINLINE | RACAZS036AJT | 35000 | 15.2 | 11.5 | 212367389
MAINLINE | RACAZS024AJT | 23400 | 15.2 | 11.5 | 212367388
FUJITSU | RACAZS036AJT | 35000 | 15.2 | 11.5 | 212367383
FUJITSU | RACAZS024AJT | 23400 | 15.2 | 11.5 | 212367382
THERMAL ZONE | RGEAZS024AJV | 23400 | 15.2 | 11.5 | 212367378
MAINLINE | RGEAZS024AJV | 23400 | 15.2 | 11.5 | 212367377
FUJITSU | RGEAZS024AJV | 23400 | 15.2 | 11.5 | 212367376
WEATHERKING | RGEAZS024AJV | 23400 | 15.2 | 11.5 | 212361775
SURE | RGEAZS024AJV | 23400 | 15.2 | 11.5 | 212361774
RUUD | RGEAZS024AJV | 23400 | 15.2 | 11.5 | 212361773
RUSSELL | RGEAZS024AJV | 23400 | 15.2 | 11.5 | 212361772
RHEEM | RGEAZS024AJV | 23400 | 15.2 | 11.5 | 212361771
LENNOX | LCT048H4E*1P | 49000 | 17.3 | 12.1 | 211153960
LENNOX | LGT048H4E*1P | 49000 | 17.3 | 12.1 | 211153959
LENNOX | LCT060H4E*1P | 59500 | 16.3 | 12 | 211153962
LENNOX | LGT060H4E*1P | 59500 | 16.3 | 12 | 211153961
LENNOX | LGT036H4E*1P | 36000 | 16.8 | 13 | 211153957
LENNOX | LCT036H4E*1P | 36000 | 16.8 | 13 | 211153958
ALLIED COMMERCIAL | LGT060H4E*1P | 59500 | 16.3 | 12 | 211239256
ALLIED COMMERCIAL | LCT060H4E*1P | 59500 | 16.3 | 12 | 211239257
ALLIED COMMERCIAL | LCT048H4E*1P | 49000 | 17.3 | 12.1 | 211239255
ALLIED COMMERCIAL | LGT048H4E*1P | 49000 | 17.3 | 12.1 | 211239254
ALLIED COMMERCIAL | LCT036H4E*1P | 36000 | 16.8 | 13 | 211239253
ALLIED COMMERCIAL | LGT036H4E*1P | 36000 | 16.8 | 13 | 211239252
DAIKIN | DRC0361********B* | 36000 | 16.4 | 12.1 | 210798529
DAIKIN | DRC0481********B* | 47000 | 16.4 | 12 | 210798530
DAIKIN | DRG0361********B* | 36000 | 16.4 | 12.1 | 210798532
DAIKIN | DRG0601********B* | 58000 | 16.2 | 11.9 | 210798534
DAIKIN | DRG0481********B* | 47000 | 16.4 | 12 | 210798533
DAIKIN | DRC0601********B* | 58000 | 16.2 | 11.9 | 210798531
YORK | ZLG04*1*1********3 | 34800 | 16 | 12.2 | 210727701
YORK | ZLE04A1*1********3 | 34800 | 16 | 12.2 | 210727700
CHAMPION HEATING AND COOLING | PCE6A3624 | 35000 | 15.2 | 11.5 | 206188383
CHAMPION HEATING AND COOLING | PCG6B481252X4 | 46000 | 15.2 | 11.5 | 206030607
FRASER-JOHNSTON | PCG6B481002X4 | 46000 | 15.2 | 11.5 | 206030605
CHAMPION HEATING AND COOLING | PCG6B480652X4 | 46000 | 15.2 | 11.5 | 206030606
LUXAIRE | PCG6B480652X4 | 46000 | 15.2 | 11.5 | 206030603
LUXAIRE | PCG6B481252X4 | 46000 | 15.2 | 11.5 | 206030604
COLEMAN | PCG6B481002X4 | 46000 | 15.2 | 11.5 | 206030602
CHAMPION HEATING AND COOLING | PCE6B4824 | 46000 | 15.2 | 11.5 | 206030601
LUXAIRE | PCE6B4824 | 46000 | 15.2 | 11.5 | 206030600
CHAMPION HEATING AND COOLING | PCG6B481002X4 | 46000 | 15.2 | 11.5 | 206030591
YORK | PCG6A240502X4 | 23000 | 15.2 | 11.5 | 206214201
YORK | PCG6A240752X4 | 23000 | 15.2 | 11.5 | 206214202
YORK | PCE6A2424 | 23000 | 15.2 | 11.5 | 206214198
YORK | PCG6A361002X4 | 35000 | 15.2 | 11.5 | 206188374
YORK | PCG6B481252X4 | 46000 | 15.2 | 11.5 | 206030613
YORK | PCE6B4824 | 46000 | 15.2 | 11.5 | 206030575
YORK | PCG6A360752X4 | 35000 | 15.2 | 11.5 | 206188373
YORK | PCE6A3624 | 35000 | 15.2 | 11.5 | 206188372
YORK | PCG6B480652X4 | 46000 | 15.2 | 11.5 | 206030611
YORK | PCG6B481002X4 | 46000 | 15.2 | 11.5 | 206030612
FRASER-JOHNSTON | PCE6B4824 | 46000 | 15.2 | 11.5 | 206030585
LUXAIRE | PCE6A2424 | 23000 | 15.2 | 11.5 | 206214213
CHAMPION HEATING AND COOLING | PCG6A240502X4 | 23000 | 15.2 | 11.5 | 206214208
FRASER-JOHNSTON | PCG6B480652X4 | 46000 | 15.2 | 11.5 | 206030589
COLEMAN | PCG6B480652X4 | 46000 | 15.2 | 11.5 | 206030586
LUXAIRE | PCG6B481002X4 | 46000 | 15.2 | 11.5 | 206030588
FRASER-JOHNSTON | PCG6B481252X4 | 46000 | 15.2 | 11.5 | 206030590
COLEMAN | PCG6B481252X4 | 46000 | 15.2 | 11.5 | 206030587
FRASER-JOHNSTON | PCG6A240502X4 | 23000 | 15.2 | 11.5 | 206214207
LUXAIRE | PCG6A240502X4 | 23000 | 15.2 | 11.5 | 206214206
COLEMAN | PCG6A240502X4 | 23000 | 15.2 | 11.5 | 206214205
COLEMAN | PCE6A2424 | 23000 | 15.2 | 11.5 | 206214203
FRASER-JOHNSTON | PCE6A2424 | 23000 | 15.2 | 11.5 | 206214204
CHAMPION HEATING AND COOLING | PCG6A360752X4 | 35000 | 15.2 | 11.5 | 206188393
COLEMAN | PCE6A3624 | 35000 | 15.2 | 11.5 | 206188388
LUXAIRE | PCG6A360752X4 | 35000 | 15.2 | 11.5 | 206188391
FRASER-JOHNSTON | PCG6A360752X4 | 35000 | 15.2 | 11.5 | 206188392
COLEMAN | PCG6A360752X4 | 35000 | 15.2 | 11.5 | 206188390
FRASER-JOHNSTON | PCE6A3624 | 35000 | 15.2 | 11.5 | 206188389
COLEMAN | PCG6A361002X4 | 35000 | 15.2 | 11.5 | 206188384
CHAMPION HEATING AND COOLING | PCG6A361002X4 | 35000 | 15.2 | 11.5 | 206188387
LUXAIRE | PCG6A361002X4 | 35000 | 15.2 | 11.5 | 206188385
FRASER-JOHNSTON | PCG6A361002X4 | 35000 | 15.2 | 11.5 | 206188386
LUXAIRE | PCE6A3624 | 35000 | 15.2 | 11.5 | 206188382
CHAMPION HEATING AND COOLING | PCG6B601252X4 | 58000 | 15.2 | 11.5 | 206030599
LUXAIRE | PCE6B6024 | 58000 | 15.2 | 11.5 | 206030592
FRASER-JOHNSTON | PCG6B601002X4 | 58000 | 15.2 | 11.5 | 206030597
FRASER-JOHNSTON | PCG6B600652X4 | 58000 | 15.2 | 11.5 | 206030581
CHAMPION HEATING AND COOLING | PCG6B600652X4 | 58000 | 15.2 | 11.5 | 206030598
LUXAIRE | PCG6B601252X4 | 58000 | 15.2 | 11.5 | 206030596
LUXAIRE | PCG6B600652X4 | 58000 | 15.2 | 11.5 | 206030595
COLEMAN | PCG6B601002X4 | 58000 | 15.2 | 11.5 | 206030594
CHAMPION HEATING AND COOLING | PCE6B6024 | 58000 | 15.2 | 11.5 | 206030593
COLEMAN | PCG6B600652X4 | 58000 | 15.2 | 11.5 | 206030578
FRASER-JOHNSTON | PCG6B601252X4 | 58000 | 15.2 | 11.5 | 206030582
COLEMAN | PCG6B601252X4 | 58000 | 15.2 | 11.5 | 206030579
LUXAIRE | PCG6B601002X4 | 58000 | 15.2 | 11.5 | 206030580
CHAMPION HEATING AND COOLING | PCG6B601002X4 | 58000 | 15.2 | 11.5 | 206030583
FRASER-JOHNSTON | PCE6B6024 | 58000 | 15.2 | 11.5 | 206030577
COLEMAN | PCE6B6024 | 58000 | 15.2 | 11.5 | 206030576
YORK | PCG6B601252X4 | 58000 | 15.2 | 11.5 | 206030610
YORK | PCG6B600652X4 | 58000 | 15.2 | 11.5 | 206030608
YORK | PCE6B6024 | 58000 | 15.2 | 11.5 | 206030574
YORK | PCG6B601002X4 | 58000 | 15.2 | 11.5 | 206030609
LUXAIRE | PCG6A240752X4 | 23000 | 15.2 | 11.5 | 206214216
CHAMPION HEATING AND COOLING | PCG6A240752X4 | 23000 | 15.2 | 11.5 | 206214218
FRASER-JOHNSTON | PCG6A240752X4 | 23000 | 15.2 | 11.5 | 206214217
COLEMAN | PCG6A240752X4 | 23000 | 15.2 | 11.5 | 206214215
CHAMPION HEATING AND COOLING | PCE6A2424 | 23000 | 15.2 | 11.5 | 206214214
COLEMAN | PCE6B4824 | 46000 | 15.2 | 11.5 | 206030584
JOHNSON CONTROLS | ZLG04*1*1********3 | 34800 | 16 | 12.2 | 210999264
JOHNSON CONTROLS | ZLE04A1*1********3 | 34800 | 16 | 12.2 | 210999263
FRASER-JOHNSTON | ZLG04*1*1********3 | 34800 | 16 | 12.2 | 210999260
LUXAIRE | ZLG04*1*1********3 | 34800 | 16 | 12.2 | 210999262
LUXAIRE | ZLE04A1*1********3 | 34800 | 16 | 12.2 | 210999261
COLEMAN | ZLG04*1*1********3 | 34800 | 16 | 12.2 | 210999258
FRASER-JOHNSTON | ZLE04A1*1********3 | 34800 | 16 | 12.2 | 210999259
COLEMAN | ZLE04A1*1********3 | 34800 | 16 | 12.2 | 210999257
CHAMPION HEATING AND COOLING | ZLG04*1*1********3 | 34800 | 16 | 12.2 | 210999256
CHAMPION HEATING AND COOLING | ZLE04A1*1********3 | 34800 | 16 | 12.2 | 210999255
TEMPMASTER | ZLE04A1*1********3 | 34800 | 16 | 12.2 | 210999265
TEMPMASTER | ZLG04*1*1********3 | 34800 | 16 | 12.2 | 210999266
JOHNSON CONTROLS | PCG6B601252X4 | 58000 | 15.2 | 11.5 | 212596805
JOHNSON CONTROLS | PCG6A361002X4 | 35000 | 15.2 | 11.5 | 212596806
JOHNSON CONTROLS | PCG6B480652X4 | 46000 | 15.2 | 11.5 | 212596810
JOHNSON CONTROLS | PCE6A2424 | 23000 | 15.2 | 11.5 | 212596814
JOHNSON CONTROLS | PCG6B481002X4 | 46000 | 15.2 | 11.5 | 212596816
JOHNSON CONTROLS | PCG6A240502X4 | 23000 | 15.2 | 11.5 | 212596818
JOHNSON CONTROLS | PCG6B481252X4 | 46000 | 15.2 | 11.5 | 212596822
JOHNSON CONTROLS | PCG6A240752X4 | 23000 | 15.2 | 11.5 | 212596823
JOHNSON CONTROLS | PCG6B600652X4 | 58000 | 15.2 | 11.5 | 212596792
JOHNSON CONTROLS | PCE6B6024 | 58000 | 15.2 | 11.5 | 212596794
JOHNSON CONTROLS | PCE6B4824 | 46000 | 15.2 | 11.5 | 212596796
JOHNSON CONTROLS | PCE6A3624 | 35000 | 15.2 | 11.5 | 212596797
JOHNSON CONTROLS | PCG6B601002X4 | 58000 | 15.2 | 11.5 | 212596799
JOHNSON CONTROLS | PCG6A360752X4 | 35000 | 15.2 | 11.5 | 212596801
AMERICAN STANDARD | 4YCZ5036F1 | 35200 | 15.2 | 11.5 | 212524870
TRANE | 4YCZ5036F1 | 35200 | 15.2 | 11.5 | 212524869
AMERICAN STANDARD | 4YCZ5024F1 | 24000 | 15.2 | 11.5 | 212524868
TRANE | 4YCZ5024F1 | 24000 | 15.2 | 11.5 | 212524867
THERMAL ZONE | RGEXZS060AJV | 57000 | 15.2 | 11.5 | 212921344
THERMAL ZONE | RGEXZS048AJV | 47500 | 15.2 | 11.5 | 212921343
THERMAL ZONE | RACXZS060AJT | 57000 | 15.2 | 11.5 | 212921342
THERMAL ZONE | RACXZS048AJT | 47500 | 15.2 | 11.5 | 212921341
MAINLINE | RGEXZS060AJV | 57000 | 15.2 | 11.5 | 212921334
MAINLINE | RGEXZS048AJV | 47500 | 15.2 | 11.5 | 212921333
MAINLINE | RACXZS060AJT | 57000 | 15.2 | 11.5 | 212921332
MAINLINE | RACXZS048AJT | 47500 | 15.2 | 11.5 | 212921331
FUJITSU | RGEXZS060AJV | 57000 | 15.2 | 11.5 | 212921324
FUJITSU | RGEXZS048AJV | 47500 | 15.2 | 11.5 | 212921323
FUJITSU | RACXZS060AJT | 57000 | 15.2 | 11.5 | 212921322
FUJITSU | RACXZS048AJT | 47500 | 15.2 | 11.5 | 212921321
AAON | RQ-002-1-0-BAAC-S0-21-000-A | 24000 | 16.4 | 13.2 | 213103076
AAON | RQ-002-1-0-BAAY-S0-21-100-A | 23000 | 15.2 | 12 | 213103082
AAON | RQ-002-1-0-BAAC-S0-21-100-A | 23000 | 15.2 | 12.1 | 213103077
AAON | RQ-003-1-0-BAAC-S0-21-000-A | 36000 | 15.6 | 12 | 213103084
AAON | RQ-003-1-0-BAAY-S0-21-000-A | 36000 | 15.6 | 11.9 | 213103086
AAON | RQ-002-1-0-BAAY-S0-21-000-A | 24000 | 16.4 | 13.1 | 213103079
AAON | RQ-005-1-0-BAAY-S0-21-000-A | 55000 | 15.4 | 12.3 | 213103107
AAON | RQ-005-1-0-BAAC-S0-21-000-A | 55000 | 15.4 | 12.4 | 213103103
FRIEDRICH | RGEAZS024AJV | 23400 | 15.2 | 11.5 | 213362924
FRIEDRICH | RACAZS036AJT | 35000 | 15.2 | 11.5 | 213362915
FRIEDRICH | RACAZS024AJT | 23400 | 15.2 | 11.5 | 213362914
ACIQ | RAW037K* | 35000 | 16 | 12 | 213019294
ACIQ | RGW037K* | 35000 | 16 | 12 | 213019295
ACIQ | RAW049K* | 46500 | 16 | 12 | 213019296
ACIQ | RGW049K* | 46500 | 16 | 12 | 213019297
ACIQ | RAW061K* | 59000 | 16.5 | 12 | 213019298
ACIQ | RGW061K* | 59000 | 16.5 | 12 | 213019299
ACIQ | PGR560***K***K1 | 56000 | 15.2 | 11.5 | 213026063
ACIQ | PGR548***K***K1 | 46500 | 16 | 11.8 | 213026062
ACIQ | PGR536***K***K1 | 34800 | 15.2 | 11.5 | 213026061
ACIQ | PGR524***K***K1 | 22200 | 15.2 | 11.5 | 213026060
ACIQ | PAR560000K***K1 | 56000 | 15.2 | 11.5 | 213026059
ACIQ | PAR548000K***K1 | 46500 | 16 | 11.8 | 213026058
ACIQ | PAR536000K***K1 | 34800 | 15.2 | 11.5 | 213026057
ACIQ | PAR524000K***K1 | 22200 | 15.2 | 11.5 | 213026056
FRIEDRICH | RACAZS036AJT | 35000 | 15.2 | 11.5 | 213362915
RHEEM | RACAZS036AJT | 35000 | 15.2 | 11.5 | 211702609
FUJITSU | RACAZS036AJT | 35000 | 15.2 | 11.5 | 212367383
THERMAL ZONE | RACAZS036AJT | 35000 | 15.2 | 11.5 | 212367395
RUSSELL | RACAZS036AJT | 35000 | 15.2 | 11.5 | 211703514
MAINLINE | RACAZS036AJT | 35000 | 15.2 | 11.5 | 212367389
RUUD | RACAZS036AJT | 35000 | 15.2 | 11.5 | 211703515
SURE | RACAZS036AJT | 35000 | 15.2 | 11.5 | 211703518
WEATHERKING | RACAZS036AJT | 35000 | 15.2 | 11.5 | 211703519
WEATHERKING | RGEAZS024AJV | 23400 | 15.2 | 11.5 | 212361775
SURE | RGEAZS024AJV | 23400 | 15.2 | 11.5 | 212361774
RUUD | RGEAZS024AJV | 23400 | 15.2 | 11.5 | 212361773
RUSSELL | RGEAZS024AJV | 23400 | 15.2 | 11.5 | 212361772
THERMAL ZONE | RGEAZS024AJV | 23400 | 15.2 | 11.5 | 212367378
MAINLINE | RGEAZS024AJV | 23400 | 15.2 | 11.5 | 212367377
FUJITSU | RGEAZS024AJV | 23400 | 15.2 | 11.5 | 212367376
RHEEM | RGEAZS024AJV | 23400 | 15.2 | 11.5 | 212361771
FRIEDRICH | RGEAZS024AJV | 23400 | 15.2 | 11.5 | 213362924
WEATHERKING | RACAZS024AJT | 23400 | 15.2 | 11.5 | 211703512
SURE | RACAZS024AJT | 23400 | 15.2 | 11.5 | 211703510
RUUD | RACAZS024AJT | 23400 | 15.2 | 11.5 | 211703508
RUSSELL | RACAZS024AJT | 23400 | 15.2 | 11.5 | 211703507
THERMAL ZONE | RACAZS024AJT | 23400 | 15.2 | 11.5 | 212367394
MAINLINE | RACAZS024AJT | 23400 | 15.2 | 11.5 | 212367388
FUJITSU | RACAZS024AJT | 23400 | 15.2 | 11.5 | 212367382
RHEEM | RACAZS024AJT | 23400 | 15.2 | 11.5 | 211702606
FRIEDRICH | RACAZS024AJT | 23400 | 15.2 | 11.5 | 213362914
WEATHERKING | RGEXZS048AJV | 47500 | 15.2 | 11.5 | 212600467
SURE | RGEXZS048AJV | 47500 | 15.2 | 11.5 | 212600463
RUUD | RGEXZS048AJV | 47500 | 15.2 | 11.5 | 212600459
RUSSELL | RGEXZS048AJV | 47500 | 15.2 | 11.5 | 212600455
THERMAL ZONE | RGEXZS048AJV | 47500 | 15.2 | 11.5 | 212921343
MAINLINE | RGEXZS048AJV | 47500 | 15.2 | 11.5 | 212921333
FUJITSU | RGEXZS048AJV | 47500 | 15.2 | 11.5 | 212921323
RHEEM | RGEXZS048AJV | 47500 | 15.2 | 11.5 | 212600451
FRIEDRICH | RGEAZS036AJV | 35000 | 15.2 | 11.5 | 213362925
WEATHERKING | RGEAZS036AJV | 35000 | 15.2 | 11.5 | 211703526
SURE | RGEAZS036AJV | 35000 | 15.2 | 11.5 | 211703523
RUUD | RGEAZS036AJV | 35000 | 15.2 | 11.5 | 211703522
RUSSELL | RGEAZS036AJV | 35000 | 15.2 | 11.5 | 211703521
THERMAL ZONE | RGEAZS036AJV | 35000 | 15.2 | 11.5 | 212367396
MAINLINE | RGEAZS036AJV | 35000 | 15.2 | 11.5 | 212367390
FUJITSU | RGEAZS036AJV | 35000 | 15.2 | 11.5 | 212367384
RHEEM | RGEAZS036AJV | 35000 | 15.2 | 11.5 | 211702612
TEMPMASTER | ZLG04*1*1********* | 34800 | 16 | 12.2 | 207175351
CHAMPION HEATING AND COOLING | ZLG04*1*1********* | 34800 | 16 | 12.2 | 207175334
JOHNSON CONTROLS | ZLG04*1*1********* | 34800 | 16 | 12.2 | 207175315
FRASER-JOHNSTON | ZLG04*1*1********* | 34800 | 16 | 12.2 | 207175296
LUXAIRE | ZLG04*1*1********* | 34800 | 16 | 12.2 | 207175277
COLEMAN | ZLG04*1*1********* | 34800 | 16 | 12.2 | 207175260
TEMPMASTER | ZLG04*1*1********3 | 34800 | 16 | 12.2 | 210999266
TEMPMASTER | ZLE04A1*1********3 | 34800 | 16 | 12.2 | 210999265
JOHNSON CONTROLS | ZLG04*1*1********3 | 34800 | 16 | 12.2 | 210999264
JOHNSON CONTROLS | ZLE04A1*1********3 | 34800 | 16 | 12.2 | 210999263
LUXAIRE | ZLG04*1*1********3 | 34800 | 16 | 12.2 | 210999262
LUXAIRE | ZLE04A1*1********3 | 34800 | 16 | 12.2 | 210999261
FRASER-JOHNSTON | ZLG04*1*1********3 | 34800 | 16 | 12.2 | 210999260
FRASER-JOHNSTON | ZLE04A1*1********3 | 34800 | 16 | 12.2 | 210999259
COLEMAN | ZLG04*1*1********3 | 34800 | 16 | 12.2 | 210999258
COLEMAN | ZLE04A1*1********3 | 34800 | 16 | 12.2 | 210999257
CHAMPION HEATING AND COOLING | ZLG04*1*1********3 | 34800 | 16 | 12.2 | 210999256
CHAMPION HEATING AND COOLING | ZLE04A1*1********3 | 34800 | 16 | 12.2 | 210999255
YORK | ZLG04*1*1********3 | 34800 | 16 | 12.2 | 210727701
YORK | ZLE04A1*1********3 | 34800 | 16 | 12.2 | 210727700
TEMPMASTER | ZLE04A1*1******** | 34200 | 16 | 12.2 | 207175611
CHAMPION HEATING AND COOLING | ZLE04A1*1******** | 34800 | 16 | 12.2 | 207175372
JOHNSON CONTROLS | ZLE04A1*1******** | 34800 | 16 | 12.2 | 207175371
FRASER-JOHNSTON | ZLE04A1*1******** | 34800 | 16 | 12.2 | 207175370
LUXAIRE | ZLE04A1*1******** | 34800 | 16 | 12.2 | 207175369
COLEMAN | ZLE04A1*1******** | 34800 | 16 | 12.2 | 207175366
YORK | ZLG04*1*1********* | 34800 | 16 | 12.2 | 207173735
YORK | ZLE04A1*1******** | 34800 | 16 | 12.2 | 207173734
FRIEDRICH | RGEXZS060AJV | 57000 | 15.2 | 11.5 | 214610341
FRIEDRICH | RGEXZS048AJV | 47500 | 15.2 | 11.5 | 214610340
FRIEDRICH | RACXZS060AJT | 57000 | 15.2 | 11.5 | 214610339
FRIEDRICH | RACXZS048AJT | 47500 | 15.2 | 11.5 | 214610338
AAON | RQ-003-1-0-FAAY-S0-21-000-A | 36000 | 15.3 | 11.65 | 214609301
AAON | RQ-003-1-0-FAAC-S0-21-000-A | 36000 | 15.3 | 11.75 | 214609287
AAON | RQ-002-1-0-FAAY-S0-21-000-A | 24000 | 16.05 | 12.85 | 214609285
AAON | RQ-002-1-0-FAAC-S0-21-000-A | 24000 | 16.05 | 12.95 | 214609283