## Gas-Fired Forced Hot Air
Data current as of 05-09-2024
The data provided are the representations submitted to DOE by manufacturers and their third party representatives. DOE makes no representations or warranties regarding the accuracy of the data.
Brand | Model Number | Input Rating (BTU/hr) | Annual Fuel Utilization Efficiency (AFUE)
Navien | NPF700-060U3BH | 60000 | 97
Navien | NPF700-100U5CH | 100000 | 97
Navien | NPF700-060H3BH | 60000 | 97
Navien | NPF700-100H5CH | 100000 | 97
NAPOLEON | WUV035T2AA-N | 35000 | 97
NAPOLEON | WUV050T3AA-N | 53000 | 97
NAPOLEON | WUV070T3AA-N | 70000 | 97
NAPOLEON | WUV070T4BA-N | 70000 | 97
NAPOLEON | WUV090T5BA-N | 88000 | 97
CONTINENTAL | WUV035T2AA-C | 35000 | 97
NAPOLEON | WUV105T5BA-N | 105000 | 97
CONTINENTAL | WUV050T3AA-C | 53000 | 97
CONTINENTAL | WUV070T3AA-C | 70000 | 97
CONTINENTAL | WUV070T4BA-C | 70000 | 97
CONTINENTAL | WUV090T5BA-C | 88000 | 97
CONTINENTAL | WUV105T5BA-C | 105000 | 97
BRYANT | 987MC42060C17 | 60000 | 97
BRYANT | 987MC42080C17 | 80000 | 97
BRYANT | 987MC60060C21 | 61000 | 98.3
BRYANT | 987MC66100C21 | 100000 | 97
BRYANT | 987MC66120C24 | 120000 | 97
ARCOAIRE | F97CMN0601714B | 60000 | 97
KENMORE | F97CMN0601714B | 60000 | 97
TEMPSTAR | F97CMN0601714B | 60000 | 97
ARCOAIRE | F97CMN0602120B | 61000 | 98
KENMORE | F97CMN0602120B | 61000 | 98
TEMPSTAR | F97CMN0602120B | 61000 | 98
ARCOAIRE | F97CMN0801714B | 80000 | 97
KENMORE | F97CMN0801714B | 80000 | 97
TEMPSTAR | F97CMN0801714B | 80000 | 97
ARCOAIRE | F97CMN1002122B | 100000 | 97
KENMORE | F97CMN1002122B | 100000 | 97
TEMPSTAR | F97CMN1002122B | 100000 | 97
ARCOAIRE | F97CMN1202422B | 120000 | 97
KENMORE | F97CMN1202422B | 120000 | 97
TEMPSTAR | F97CMN1202422B | 120000 | 97
AIRQUEST | G97CMN0601714B | 60000 | 97
COMFORTMAKER | G97CMN0601714B | 60000 | 97
DAY & NIGHT | G97CMN0601714B | 60000 | 97
HEIL | G97CMN0601714B | 60000 | 97
ICP COMMERCIAL | G97CMN0601714B | 60000 | 97
KEEPRITE | G97CMN0601714B | 60000 | 97
KENMORE | G97CMN0601714B | 60000 | 97
TEMPSTAR | G97CMN0601714B | 60000 | 97
AIRQUEST | G97CMN0602120B | 61000 | 98
COMFORTMAKER | G97CMN0602120B | 61000 | 98
DAY & NIGHT | G97CMN0602120B | 61000 | 98
HEIL | G97CMN0602120B | 61000 | 98
ICP COMMERCIAL | G97CMN0602120B | 61000 | 98
KEEPRITE | G97CMN0602120B | 61000 | 98
KENMORE | G97CMN0602120B | 61000 | 98
TEMPSTAR | G97CMN0602120B | 61000 | 98
AIRQUEST | G97CMN0801714B | 80000 | 97
COMFORTMAKER | G97CMN0801714B | 80000 | 97
DAY & NIGHT | G97CMN0801714B | 80000 | 97
HEIL | G97CMN0801714B | 80000 | 97
ICP COMMERCIAL | G97CMN0801714B | 80000 | 97
KEEPRITE | G97CMN0801714B | 80000 | 97
KENMORE | G97CMN0801714B | 80000 | 97
TEMPSTAR | G97CMN0801714B | 80000 | 97
AIRQUEST | G97CMN1002122B | 100000 | 97
COMFORTMAKER | G97CMN1002122B | 100000 | 97
DAY & NIGHT | G97CMN1002122B | 100000 | 97
HEIL | G97CMN1002122B | 100000 | 97
ICP COMMERCIAL | G97CMN1002122B | 100000 | 97
KEEPRITE | G97CMN1002122B | 100000 | 97
KENMORE | G97CMN1002122B | 100000 | 97
TEMPSTAR | G97CMN1002122B | 100000 | 97
AIRQUEST | G97CMN1202422B | 120000 | 97
COMFORTMAKER | G97CMN1202422B | 120000 | 97
DAY & NIGHT | G97CMN1202422B | 120000 | 97
HEIL | G97CMN1202422B | 120000 | 97
ICP COMMERCIAL | G97CMN1202422B | 120000 | 97
KEEPRITE | G97CMN1202422B | 120000 | 97
KENMORE | G97CMN1202422B | 120000 | 97
TEMPSTAR | G97CMN1202422B | 120000 | 97
CARRIER | 59MN7C080C21--20 | 80000 | 97.2
BRYANT | 987MC60080C21 | 80000 | 97
ARCOAIRE | F97CMN0802120B | 80000 | 97
KENMORE | F97CMN0802120B | 80000 | 97
TEMPSTAR | F97CMN0802120B | 80000 | 97
AIRQUEST | G97CMN0802120B | 80000 | 97
COMFORTMAKER | G97CMN0802120B | 80000 | 97
DAY & NIGHT | G97CMN0802120B | 80000 | 97
HEIL | G97CMN0802120B | 80000 | 97
ICP COMMERCIAL | G97CMN0802120B | 80000 | 97
KEEPRITE | G97CMN0802120B | 80000 | 97
KENMORE | G97CMN0802120B | 80000 | 97
TEMPSTAR | G97CMN0802120B | 80000 | 97
LPS Legacy | G97CMN0601714A | 60000 | 97
LPS Legacy | G97CMN0602120A | 61000 | 98
LPS Legacy | G97CMN0801714A | 80000 | 97
LPS Legacy | G97CMN0802120A | 80000 | 97
LPS Legacy | G97CMN1002122A | 100000 | 97
LPS Legacy | G97CMN1202422A | 120000 | 97
ACIQ | N96VSN0802120B | 80000 | 97
ACIQ | N96VSN0801716B | 80000 | 97
ACIQ | N96VSN0601716B | 60000 | 97
ACIQ | N96MSN0801716A* | 80000 | 97
ACIQ | N96MSN0801716A | 80000 | 97
ACIQ | N96MSN0802120A* | 80000 | 97
ACIQ | N96MSN0802120A | 80000 | 97
ACIQ | N96MSN0601716A* | 60000 | 97
ACIQ | N96MSN0601716A | 60000 | 97
ACIQ | G97CMN1202422A | 120000 | 97
ACIQ | G97CMN1002122A | 100000 | 97
ACIQ | G97CMN0802120A | 80000 | 97
ACIQ | G97CMN0801714A | 80000 | 97
ACIQ | G97CMN0602120A | 61000 | 98
ACIQ | G97CMN0601714A | 60000 | 97
CARRIER | 59MN7C120C24--22 | 120000 | 97.2
CARRIER | 59MN7C100C21--22 | 100000 | 97.3
CARRIER | 59MN7C080C17--14 | 80000 | 97.4
CARRIER | 59MN7C060C21--20 | 61000 | 98.5
CARRIER | 59MN7C060C17--14 | 60000 | 97.4
AIRQUEST | G97CMN0801714A | 80000 | 97
COMFORTMAKER | G97CMN0801714A | 80000 | 97
DAY & NIGHT | G97CMN0801714A | 80000 | 97
HEIL | G97CMN0801714A | 80000 | 97
ICP COMMERCIAL | G97CMN0801714A | 80000 | 97
KEEPRITE | G97CMN0801714A | 80000 | 97
KENMORE | G97CMN0801714A | 80000 | 97
TEMPSTAR | G97CMN0801714A | 80000 | 97
AIRQUEST | G97CMN0802120A | 80000 | 97
COMFORTMAKER | G97CMN0802120A | 80000 | 97
DAY & NIGHT | G97CMN0802120A | 80000 | 97
HEIL | G97CMN0802120A | 80000 | 97
ICP COMMERCIAL | G97CMN0802120A | 80000 | 97
KEEPRITE | G97CMN0802120A | 80000 | 97
KENMORE | G97CMN0802120A | 80000 | 97
TEMPSTAR | G97CMN0802120A | 80000 | 97
AIRQUEST | G97CMN1002122A | 100000 | 97
COMFORTMAKER | G97CMN1002122A | 100000 | 97
DAY & NIGHT | G97CMN1002122A | 100000 | 97
HEIL | G97CMN1002122A | 100000 | 97
ICP COMMERCIAL | G97CMN1002122A | 100000 | 97
KEEPRITE | G97CMN1002122A | 100000 | 97
KENMORE | G97CMN1002122A | 100000 | 97
TEMPSTAR | G97CMN1002122A | 100000 | 97
AIRQUEST | G97CMN1202422A | 120000 | 97
COMFORTMAKER | G97CMN1202422A | 120000 | 97
DAY & NIGHT | G97CMN1202422A | 120000 | 97
HEIL | G97CMN1202422A | 120000 | 97
ICP COMMERCIAL | G97CMN1202422A | 120000 | 97
KEEPRITE | G97CMN1202422A | 120000 | 97
KENMORE | G97CMN1202422A | 120000 | 97
TEMPSTAR | G97CMN1202422A | 120000 | 97
ARCOAIRE | F97CMN0802120A | 80000 | 97
KENMORE | F97CMN0802120A | 80000 | 97
TEMPSTAR | F97CMN0802120A | 80000 | 97
ARCOAIRE | F97CMN0601714A | 60000 | 97
KENMORE | F97CMN0601714A | 60000 | 97
TEMPSTAR | F97CMN0601714A | 60000 | 97
ARCOAIRE | F97CMN0602120A | 61000 | 98
KENMORE | F97CMN0602120A | 61000 | 98
TEMPSTAR | F97CMN0602120A | 61000 | 98
ARCOAIRE | F97CMN0801714A | 80000 | 97
KENMORE | F97CMN0801714A | 80000 | 97
TEMPSTAR | F97CMN0801714A | 80000 | 97
ARCOAIRE | F97CMN1002122A | 100000 | 97
KENMORE | F97CMN1002122A | 100000 | 97
TEMPSTAR | F97CMN1002122A | 100000 | 97
ARCOAIRE | F97CMN1202422A | 120000 | 97
KENMORE | F97CMN1202422A | 120000 | 97
TEMPSTAR | F97CMN1202422A | 120000 | 97
AIRQUEST | G97CMN0601714A | 60000 | 97
COMFORTMAKER | G97CMN0601714A | 60000 | 97
DAY & NIGHT | G97CMN0601714A | 60000 | 97
HEIL | G97CMN0601714A | 60000 | 97
ICP COMMERCIAL | G97CMN0601714A | 60000 | 97
KEEPRITE | G97CMN0601714A | 60000 | 97
KENMORE | G97CMN0601714A | 60000 | 97
TEMPSTAR | G97CMN0601714A | 60000 | 97
AIRQUEST | G97CMN0602120A | 61000 | 98
COMFORTMAKER | G97CMN0602120A | 61000 | 98
DAY & NIGHT | G97CMN0602120A | 61000 | 98
HEIL | G97CMN0602120A | 61000 | 98
ICP COMMERCIAL | G97CMN0602120A | 61000 | 98
KEEPRITE | G97CMN0602120A | 61000 | 98
KENMORE | G97CMN0602120A | 61000 | 98
TEMPSTAR | G97CMN0602120A | 61000 | 98
MARATHERM | R96MSN0601716A | 60000 | 97
SMARTCOMFORT | R96MSN0601716A | 60000 | 97
MARATHERM | R96MSN0601716A* | 60000 | 97
SMARTCOMFORT | R96MSN0601716A* | 60000 | 97
MARATHERM | R96MSN0802120A | 80000 | 97
SMARTCOMFORT | R96MSN0802120A | 80000 | 97
MARATHERM | R96MSN0802120A* | 80000 | 97
SMARTCOMFORT | R96MSN0802120A* | 80000 | 97
ECOTEMP | WFSX060B048B | 60000 | 97
GRANDAIRE | WFSX060B048B | 60000 | 97
ECOTEMP | WFSX060B048B* | 60000 | 97
GRANDAIRE | WFSX060B048B* | 60000 | 97
AIRQUEST | N96MSN0601716A | 60000 | 97
ARCOAIRE | N96MSN0601716A | 60000 | 97
COMFORTMAKER | N96MSN0601716A | 60000 | 97
DAY & NIGHT | N96MSN0601716A | 60000 | 97
HEIL | N96MSN0601716A | 60000 | 97
ICP COMMERCIAL | N96MSN0601716A | 60000 | 97
KEEPRITE | N96MSN0601716A | 60000 | 97
KENMORE | N96MSN0601716A | 60000 | 97
TEMPSTAR | N96MSN0601716A | 60000 | 97
AIRQUEST | N96MSN0601716A* | 60000 | 97
ARCOAIRE | N96MSN0601716A* | 60000 | 97
COMFORTMAKER | N96MSN0601716A* | 60000 | 97
DAY & NIGHT | N96MSN0601716A* | 60000 | 97
HEIL | N96MSN0601716A* | 60000 | 97
ICP COMMERCIAL | N96MSN0601716A* | 60000 | 97
KEEPRITE | N96MSN0601716A* | 60000 | 97
KENMORE | N96MSN0601716A* | 60000 | 97
TEMPSTAR | N96MSN0601716A* | 60000 | 97
AIRQUEST | N96MSN0802120A | 80000 | 97
ARCOAIRE | N96MSN0802120A | 80000 | 97
COMFORTMAKER | N96MSN0802120A | 80000 | 97
DAY & NIGHT | N96MSN0802120A | 80000 | 97
HEIL | N96MSN0802120A | 80000 | 97
ICP COMMERCIAL | N96MSN0802120A | 80000 | 97
KEEPRITE | N96MSN0802120A | 80000 | 97
KENMORE | N96MSN0802120A | 80000 | 97
TEMPSTAR | N96MSN0802120A | 80000 | 97
AIRQUEST | N96MSN0802120A* | 80000 | 97
ARCOAIRE | N96MSN0802120A* | 80000 | 97
COMFORTMAKER | N96MSN0802120A* | 80000 | 97
DAY & NIGHT | N96MSN0802120A* | 80000 | 97
HEIL | N96MSN0802120A* | 80000 | 97
ICP COMMERCIAL | N96MSN0802120A* | 80000 | 97
KEEPRITE | N96MSN0802120A* | 80000 | 97
KENMORE | N96MSN0802120A* | 80000 | 97
TEMPSTAR | N96MSN0802120A* | 80000 | 97
BROCK | PG96MSAA48060B | 60000 | 97
PAYNE | PG96MSAA48060B | 60000 | 97
WEATHERMAKER | PG96MSAA48060B | 60000 | 97
PAYNE | PG96MSAA48060B* | 60000 | 97
WEATHERMAKER | PG96MSAA48060B* | 60000 | 97
BROCK | PG96MSAA60080C | 80000 | 97
PAYNE | PG96MSAA60080C | 80000 | 97
WEATHERMAKER | PG96MSAA60080C | 80000 | 97
PAYNE | PG96MSAA60080C* | 80000 | 97
WEATHERMAKER | PG96MSAA60080C* | 80000 | 97
AIRQUEST | N96VSN0801716B | 80000 | 97
ARCOAIRE | N96VSN0801716B | 80000 | 97
COMFORTMAKER | N96VSN0801716B | 80000 | 97
DAY & NIGHT | N96VSN0801716B | 80000 | 97
HEIL | N96VSN0801716B | 80000 | 97
ICP COMMERCIAL | N96VSN0801716B | 80000 | 97
KEEPRITE | N96VSN0801716B | 80000 | 97
KENMORE | N96VSN0801716B | 80000 | 97
TEMPSTAR | N96VSN0801716B | 80000 | 97
AIRQUEST | N96VSN0802120B | 80000 | 97
ARCOAIRE | N96VSN0802120B | 80000 | 97
COMFORTMAKER | N96VSN0802120B | 80000 | 97
DAY & NIGHT | N96VSN0802120B | 80000 | 97
HEIL | N96VSN0802120B | 80000 | 97
ICP COMMERCIAL | N96VSN0802120B | 80000 | 97
KEEPRITE | N96VSN0802120B | 80000 | 97
KENMORE | N96VSN0802120B | 80000 | 97
TEMPSTAR | N96VSN0802120B | 80000 | 97
CARRIER | 59SC6A060M17--16 | 60000 | 97
CARRIER | 59SC6A060M17--16* | 60000 | 97
CARRIER | 59SC6A080M21--20 | 80000 | 97
CARRIER | 59SC6A080M21--20* | 80000 | 97
BRYANT | 916SA48060M17 | 60000 | 97
BRYANT | 916SA48060M17* | 60000 | 97
BRYANT | 916SA60080M21 | 80000 | 97
BRYANT | 916SA60080M21* | 80000 | 97
SMARTCOMFORT | N96MSM0601716A | 60000 | 97
SMARTCOMFORT | N96MSM0802120A | 80000 | 97
AIRQUEST | N96VSN0601716B | 60000 | 97
ARCOAIRE | N96VSN0601716B | 60000 | 97
COMFORTMAKER | N96VSN0601716B | 60000 | 97
DAY & NIGHT | N96VSN0601716B | 60000 | 97
HEIL | N96VSN0601716B | 60000 | 97
ICP COMMERCIAL | N96VSN0601716B | 60000 | 97
KEEPRITE | N96VSN0601716B | 60000 | 97
KENMORE | N96VSN0601716B | 60000 | 97
TEMPSTAR | N96VSN0601716B | 60000 | 97
CARRIER | 59SP6B080V17--16 | 80000 | 97
CARRIER | 59SP6B080V21--20 | 80000 | 97
BRYANT | 926SB48080V17 | 80000 | 97
BRYANT | 926SB60080V21 | 80000 | 97
CARRIER | 59SP6B060V17--16 | 60000 | 97
BRYANT | 926SB48060V17 | 60000 | 97
BRYANT | 987MB42060C17 | 60000 | 97
BRYANT | 987MB42080C17 | 80000 | 97
CARRIER | 59SC6A080M17--16 | 80000 | 97
CARRIER | 59SC6A080M17--16* | 80000 | 97
BRYANT | 916SA48080M17 | 80000 | 97
BRYANT | 916SA48080M17* | 80000 | 97
AIRQUEST | N96MSN0801716A | 80000 | 97
ARCOAIRE | N96MSN0801716A | 80000 | 97
COMFORTMAKER | N96MSN0801716A | 80000 | 97
DAY & NIGHT | N96MSN0801716A | 80000 | 97
HEIL | N96MSN0801716A | 80000 | 97
ICP COMMERCIAL | N96MSN0801716A | 80000 | 97
KEEPRITE | N96MSN0801716A | 80000 | 97
KENMORE | N96MSN0801716A | 80000 | 97
TEMPSTAR | N96MSN0801716A | 80000 | 97
AIRQUEST | N96MSN0801716A* | 80000 | 97
ARCOAIRE | N96MSN0801716A* | 80000 | 97
COMFORTMAKER | N96MSN0801716A* | 80000 | 97
DAY & NIGHT | N96MSN0801716A* | 80000 | 97
HEIL | N96MSN0801716A* | 80000 | 97
ICP COMMERCIAL | N96MSN0801716A* | 80000 | 97
KEEPRITE | N96MSN0801716A* | 80000 | 97
KENMORE | N96MSN0801716A* | 80000 | 97
TEMPSTAR | N96MSN0801716A* | 80000 | 97
BROCK | PG96MSAA48080B | 80000 | 97
PAYNE | PG96MSAA48080B | 80000 | 97
WEATHERMAKER | PG96MSAA48080B | 80000 | 97
PAYNE | PG96MSAA48080B* | 80000 | 97
WEATHERMAKER | PG96MSAA48080B* | 80000 | 97
MARATHERM | R96MSN0801716A | 80000 | 97
SMARTCOMFORT | R96MSN0801716A | 80000 | 97
MARATHERM | R96MSN0801716A* | 80000 | 97
SMARTCOMFORT | R96MSN0801716A* | 80000 | 97
ECOTEMP | WFSX080B048B | 80000 | 97
GRANDAIRE | WFSX080B048B | 80000 | 97
ECOTEMP | WFSX080B048B* | 80000 | 97
GRANDAIRE | WFSX080B048B* | 80000 | 97
BRYANT | 987MB66100C21 | 100000 | 97
BRYANT | 987MB60080C21 | 80000 | 97
BRYANT | 987MB60060C21 | 61000 | 98.3
CARRIER | 59MN7B120C24--22 | 120000 | 97.2
CARRIER | 59MN7B100C21--22 | 100000 | 97.3
CARRIER | 59MN7B080C21--20 | 80000 | 97.2
CARRIER | 59MN7B080C17--14 | 80000 | 97.4
CARRIER | 59MN7B060C21--20 | 61000 | 98.5
CARRIER | 59MN7B060C17--14 | 60000 | 97.4
BRYANT | 987MB66120C24 | 120000 | 97
ARMSTRONG AIR | A98USMV070B12S -* | 66000 | 98
ARMSTRONG AIR | A98USMV090C12S -* | 88000 | 98
ARMSTRONG AIR | A98USMV090C16S -* | 88000 | 98
ARMSTRONG AIR | A98USMV090C20S -* | 88000 | 98
ARMSTRONG AIR | A98USMV110C20S -* | 110000 | 98
ARMSTRONG AIR | A98USMV135D20S -* | 132000 | 98
AIREASE | A98USMV090C12S -* | 88000 | 98
AIREASE | A98USMV090C16S -* | 88000 | 98
AIREASE | A98USMV090C20S -* | 88000 | 98
AIREASE | A98USMV110C20S -* | 110000 | 98
AIREASE | A98USMV135D20S -* | 132000 | 98
AIREASE | A98USMV070B12S -* | 66000 | 98
COMFORT-AIRE | GUH97M110C5M | 110000 | 97
CENTURY | GUH97M135C5M | 132000 | 97
COMFORT-AIRE | GUH97M135C5M | 132000 | 97
GE | NF97U070M3B-* | 66000 | 97
GE | NF97U090M3C-* | 88000 | 97
GE | NF97U090M4C-* | 88000 | 97
GE | NF97U090M5C-* | 88000 | 97
GE | NF97U110M5C-* | 110000 | 97
GE | NF97U135M5D-* | 132000 | 97
GE | NF97D070M3B-* | 66000 | 97
GE | NF97D090M4C-* | 88000 | 97
GE | NF97D110M5C-* | 110000 | 97
ARMSTRONG AIR | A97US2V080C20X-* | 80000 | 97.5
AIREASE | A97US2V080C20X-* | 80000 | 97.5
ARMSTRONG AIR | A97UH2E030B08S-** | 30000 | 97
AIREASE | A97UH2E030B08S-** | 30000 | 97
DUCANE | 97G2UH030BE08-** | 30000 | 97
CONCORD | 97G2UH030BE08-** | 30000 | 97
DUCANE | 97G2UH110CE20-** | 110000 | 97
CONCORD | 97G2UH110CE20-** | 110000 | 97
DUCANE | 97G2UH045BV12-** | 44000 | 97
CONCORD | 97G2UH045BV12-** | 44000 | 97
DUCANE | 97G2UH070BV12-** | 66000 | 97
CONCORD | 97G2UH070BV12-** | 66000 | 97
DUCANE | 97G2UH090CV12-** | 88000 | 97
CONCORD | 97G2UH090CV12-** | 88000 | 97
DUCANE | 97G2UH090CV20-** | 88000 | 97
CONCORD | 97G2UH090CV20-** | 88000 | 97
DUCANE | 97G2UH110CV20-** | 110000 | 97
CONCORD | 97G2UH110CV20-** | 110000 | 97
DUCANE | 97G2UH135DV20-** | 132000 | 97
CONCORD | 97G2UH135DV20-** | 132000 | 97
DUCANE | 97G2DF070BV16-** | 66000 | 97
CONCORD | 97G2DF070BV16-** | 66000 | 97
DUCANE | 97G2DF090CV20-** | 88000 | 97
CONCORD | 97G2DF090CV20-** | 88000 | 97
DUCANE | 97G2DF110CV20-** | 110000 | 97
CONCORD | 97G2DF110CV20-** | 110000 | 97
ARMSTRONG AIR | A97USMV070B12S-* | 66000 | 97
AIREASE | A97USMV070B12S-* | 66000 | 97
ARMSTRONG AIR | A97USMV090C16S-* | 88000 | 97
AIREASE | A97USMV090C16S-* | 88000 | 97
ARMSTRONG AIR | A97USMV090C20S-* | 88000 | 97
AIREASE | A97USMV090C20S-* | 88000 | 97
ARMSTRONG AIR | A97USMV110C20S-* | 110000 | 97
AIREASE | A97USMV110C20S-* | 110000 | 97
ARMSTRONG AIR | A97USMV135D20S-* | 132000 | 97
AIREASE | A97USMV135D20S-* | 132000 | 97
ARMSTRONG AIR | A97DSMV070B12S-* | 66000 | 97
AIREASE | A97DSMV070B12S-* | 66000 | 97
ARMSTRONG AIR | A97DSMV090C16S-* | 88000 | 97
AIREASE | A97DSMV090C16S-* | 88000 | 97
ARMSTRONG AIR | A97DSMV090C20S-* | 88000 | 97
AIREASE | A97DSMV090C20S-* | 88000 | 97
ARMSTRONG AIR | A97DSMV110C20S-* | 110000 | 97
AIREASE | A97DSMV110C20S-* | 110000 | 97
ARMSTRONG AIR | A97USMV090C12S-* | 88000 | 97
AIREASE | A97USMV090C12S-* | 88000 | 97
CENTURY | GUH97M070B3M | 66000 | 97
COMFORT-AIRE | GUH97M070B3M | 66000 | 97
CENTURY | GUH97M090C3M | 88000 | 97
COMFORT-AIRE | GUH97M090C3M | 88000 | 97
CENTURY | GUH97M090C4M | 88000 | 97
COMFORT-AIRE | GUH97M090C4M | 88000 | 97
CENTURY | GUH97M090C5M | 88000 | 97
COMFORT-AIRE | GUH97M090C5M | 88000 | 97
CENTURY | GUH97M110C5M | 110000 | 97
FRIEDRICH | FR98MV1005A21UPS | 98000 | 98.1
FRIEDRICH | FR98MV1155A24UPS | 112000 | 98.6
FRIEDRICH | FR98MV0855A21UPS | 84000 | 98.2
FUJITSU | FF98MV511524UPS*A | 112000 | 98.6
FUJITSU | FF98MV510021UPS*A | 98000 | 98.1
FUJITSU | FF98MV508521UPS*A | 84000 | 98.2
FUJITSU | FF98MV307017UPS*A | 70000 | 98.3
FUJITSU | FF98MV306017UPS*A | 56000 | 98.7
FUJITSU | FF97MV511524DHS*A | 112000 | 97
FUJITSU | FF97MV510021DHS*A | 98000 | 97
FUJITSU | FF97MV508521DHS*A | 84000 | 97
FUJITSU | FF97MV307017DHS*A | 70000 | 97
FUJITSU | FF97MV306017DHS*A | 56000 | 97
MAINLINE | ML98MV1155A24UPS | 112000 | 98.6
MAINLINE | ML98MV1005A21UPS | 98000 | 98.1
MAINLINE | ML98MV0855A21UPS | 84000 | 98.2
MAINLINE | ML98MV0703A17UPS | 70000 | 98.3
MAINLINE | ML98MV0603A17UPS | 56000 | 98.7
MAINLINE | ML97MV1155A24DHS | 112000 | 97
MAINLINE | ML97MV1005A21DHS | 98000 | 97
MAINLINE | ML97MV0855A21DHS | 84000 | 97
MAINLINE | ML97MV0703A17DHS | 70000 | 97
MAINLINE | ML97MV0603A17DHS | 56000 | 97
RUSSELL | S98MV1155A24UPS | 112000 | 98.6
RUSSELL | S98MV1005A21UPS | 98000 | 98.1
RUSSELL | S98MV0855A21UPS | 84000 | 98.2
RUSSELL | S98MV0703A17UPS | 70000 | 98.3
RUSSELL | S98MV0603A17UPS | 56000 | 98.7
RUSSELL | S97MV1155A24DHS | 112000 | 97
RUSSELL | S97MV0855A21DHS | 84000 | 97
RUSSELL | S97MV1005A21DHS | 98000 | 97
RUSSELL | S97MV0703A17DHS | 70000 | 97
RUSSELL | S97MV0603A17DHS | 56000 | 97
SURE | S98MV1155A24UPS | 112000 | 98.6
SURE | S98MV1005A21UPS | 98000 | 98.1
SURE | S98MV0855A21UPS | 84000 | 98.2
SURE | S98MV0703A17UPS | 70000 | 98.3
SURE | S98MV0603A17UPS | 56000 | 98.7
SURE | S97MV1155A24DHS | 112000 | 97
SURE | S97MV1005A21DHS | 98000 | 97
SURE | S97MV0855A21DHS | 84000 | 97
SURE | S97MV0703A17DHS | 70000 | 97
SURE | S97MV0603A17DHS | 56000 | 97
RUUD | U98MV1155A24UPS | 112000 | 98.6
RUUD | U98MV1005A21UPS | 98000 | 98.1
RUUD | U98MV0855A21UPS | 84000 | 98.2
RUUD | U98MV0703A17UPS | 70000 | 98.3
RUUD | U98MV0603A17UPS | 56000 | 98.7
RUUD | U97MV1155A24DHS | 112000 | 97
RUUD | U97MV1005A21DHS | 98000 | 97
RUUD | U97MV0855A21DHS | 84000 | 97
RUUD | U97MV0703A17DHS | 70000 | 97
RUUD | U97MV0603A17DHS | 56000 | 97
RHEEM | R98MV1155A24UPS | 112000 | 98.6
RHEEM | R98MV1005A21UPS | 98000 | 98.1
RHEEM | R98MV0855A21UPS | 84000 | 98.2
RHEEM | R98MV0703A17UPS | 70000 | 98.3
RHEEM | R98MV0603A17UPS | 56000 | 98.7
RHEEM | R97MV1155A24DHS | 112000 | 97
RHEEM | R97MV1005A21DHS | 98000 | 97
RHEEM | R97MV0855A21DHS | 84000 | 97
RHEEM | R97MV0703A17DHS | 70000 | 97
RHEEM | R97MV0603A17DHS | 56000 | 97
FRIEDRICH | FR97MV0603A17DHS | 56000 | 97
FRIEDRICH | FR97MV0703A17DHS | 70000 | 97
FRIEDRICH | FR97MV0855A21DHS | 84000 | 97
FRIEDRICH | FR97MV1005A21DHS | 98000 | 97
FRIEDRICH | FR97MV1155A24DHS | 112000 | 97
FRIEDRICH | FR98MV0603A17UPS | 56000 | 98.7
FRIEDRICH | FR98MV0703A17UPS | 70000 | 98.3
LENNOX | EL297UH045XV36B-* | 44000 | 97
LENNOX | EL297UH070XV36B-* | 66000 | 97
LENNOX | EL297UH090XV36C-* | 88000 | 97
LENNOX | EL297UH090XV48C-* | 88000 | 97
LENNOX | EL297UH090XV60C-* | 88000 | 97
LENNOX | EL297UH110XV48C-* | 110000 | 97
LENNOX | EL297UH110XV60C-* | 110000 | 97
LENNOX | EL297UH135XV60D-* | 132000 | 97
LENNOX | EL297DF045XV36B-* | 44000 | 97
LENNOX | EL297DF070XV48B-* | 66000 | 97
LENNOX | EL297DF090XV60C-* | 88000 | 97
LENNOX | EL297DF110XV60C-* | 110000 | 97
ARMSTRONG AIR | A97US2V045B12S-*-* | 44000 | 97
AIREASE | A97US2V045B12S-*-* | 44000 | 97
ARMSTRONG AIR | A97US2V070B12S-*-* | 66000 | 97
AIREASE | A97US2V070B12S-*-* | 66000 | 97
ARMSTRONG AIR | A97US2V090C12S-*-* | 88000 | 97
AIREASE | A97US2V090C12S-*-* | 88000 | 97
ARMSTRONG AIR | A97US2V090C16S-*-* | 88000 | 97
AIREASE | A97US2V090C16S-*-* | 88000 | 97
ARMSTRONG AIR | A97US2V090C20S-*-* | 88000 | 97
AIREASE | A97US2V090C20S-*-* | 88000 | 97
ARMSTRONG AIR | A97US2V110C16S-*-* | 110000 | 97
AIREASE | A97US2V110C16S-*-* | 110000 | 97
ARMSTRONG AIR | A97US2V110C20S-*-* | 110000 | 97
AIREASE | A97US2V110C20S-*-* | 110000 | 97
ARMSTRONG AIR | A97US2V135D20S-*-* | 132000 | 97
AIREASE | A97US2V135D20S-*-* | 132000 | 97
ARMSTRONG AIR | A97DS2V045B12S-*-* | 44000 | 97
AIREASE | A97DS2V045B12S-*-* | 44000 | 97
ARMSTRONG AIR | A97DS2V070B16S-*-* | 66000 | 97
AIREASE | A97DS2V070B16S-*-* | 66000 | 97
ARMSTRONG AIR | A97DS2V090C20S-*-* | 88000 | 97
AIREASE | A97DS2V090C20S-*-* | 88000 | 97
ARMSTRONG AIR | A97DS2V110C20S-*-* | 110000 | 97
AIREASE | A97DS2V110C20S-*-* | 110000 | 97
LENNOX | EL297UH045XE36B-* | 44000 | 97
LENNOX | EL297UH070XE36B-* | 66000 | 97
LENNOX | EL297UH090XE48C-* | 88000 | 97
LENNOX | EL297UH110XE60C-* | 110000 | 97
LENNOX | EL297UH135XE60D-* | 132000 | 97
LENNOX | EL297DF045XE36B-* | 44000 | 97
LENNOX | EL297DF070XE48B-* | 66000 | 97
LENNOX | EL297DF090XE48C-* | 88000 | 97
LENNOX | EL297DF110XE60C-* | 110000 | 97
CONCORD | 97G2DF045BE12-** | 44000 | 97
DUCANE | 97G2DF045BE12-** | 44000 | 97
CONCORD | 97G2DF070BE16-** | 66000 | 97
DUCANE | 97G2DF070BE16-** | 66000 | 97
CONCORD | 97G2DF090CE16-** | 88000 | 97
DUCANE | 97G2DF090CE16-** | 88000 | 97
CONCORD | 97G2DF110CE20-** | 110000 | 97
DUCANE | 97G2DF110CE20-** | 110000 | 97
DUCANE | 97G2UH045BE12-** | 44000 | 97
CONCORD | 97G2UH045BE12-** | 44000 | 97
DUCANE | 97G2UH070BE12-** | 66000 | 97
CONCORD | 97G2UH070BE12-** | 66000 | 97
DUCANE | 97G2UH090CE16-** | 88000 | 97
CONCORD | 97G2UH090CE16-** | 88000 | 97
DUCANE | 97G2UH110C20-** | 110000 | 97
CONCORD | 97G2UH110C20-** | 110000 | 97
AIREASE | A97DF2E045B12-** | 44000 | 97
ARMSTRONG AIR | A97DF2E045B12-** | 44000 | 97
AIREASE | A97DF2E070B16-** | 66000 | 97
ARMSTRONG AIR | A97DF2E070B16-** | 66000 | 97
AIREASE | A97DF2E090C16-** | 88000 | 97
ARMSTRONG AIR | A97DF2E090C16-** | 88000 | 97
AIREASE | A97DF2E110C20-** | 110000 | 97
ARMSTRONG AIR | A97DF2E110C20-** | 110000 | 97
ARMSTRONG AIR | A97UH2E045B12-** | 44000 | 97
AIREASE | A97UH2E045B12-** | 44000 | 97
ARMSTRONG AIR | A97UH2E070B12-** | 66000 | 97
AIREASE | A97UH2E070B12-** | 66000 | 97
ARMSTRONG AIR | A97UH2E090C16-** | 88000 | 97
AIREASE | A97UH2E090C16-** | 88000 | 97
ARMSTRONG AIR | A97UH2E110C20-** | 110000 | 97
AIREASE | A97UH2E110C20-** | 110000 | 97
AC PRO | A97US2V040B12X-*-* | 40000 | 97.5
AC PRO | A97US2V060B12X-** | 60000 | 97.5
AC PRO | A97US2V080C16X-*-* | 80000 | 97.5
AC PRO | A97US2V080C20X-*-* | 80000 | 97.5
ALLIED | A97US2V040B12X-*-* | 40000 | 97.5
ALLIED | A97US2V060B12X-** | 60000 | 97.5
ALLIED | A97US2V080C16X-*-* | 80000 | 97.5
ALLIED | A97US2V080C20X-*-* | 80000 | 97.5
LENNOX | SLP99UH070XV36B-* | 66000 | 98.1
LENNOX | SLP99UH090XV36C-* | 88000 | 98.1
LENNOX | SLP99UH090XV48C-* | 88000 | 98.2
LENNOX | SLP99UH090XV60C-* | 88000 | 99
LENNOX | SLP99UH110XV60C-* | 110000 | 98.1
LENNOX | SLP99UH135XV60D-* | 132000 | 98.4
LENNOX | SLP99DF070XV36B-* | 66000 | 97.5
LENNOX | SLP99DF090XV36C-* | 88000 | 97.5
LENNOX | SLP99DF090XV48C-* | 88000 | 97.5
LENNOX | SLP99DF090XV60C-* | 88000 | 97.5
LENNOX | SLP99DF110XV60C-* | 110000 | 97.5
LENNOX | SL297UH040NV36B-* | 40000 | 97.5
LENNOX | SL297UH060NV36B-* | 60000 | 97.5
LENNOX | SL297UH080NV48C-* | 80000 | 97.5
LENNOX | SL297UH080NV60C-* | 80000 | 97.5
ARMSTRONG AIR | A97US2V040B12X-*-* | 40000 | 97.5
AIREASE | A97US2V040B12X-*-* | 40000 | 97.5
ARMSTRONG AIR | A97US2V060B12X-** | 60000 | 97.5
AIREASE | A97US2V060B12X-** | 60000 | 97.5
ARMSTRONG AIR | A97US2V080C16X-*-* | 80000 | 97.5
AIREASE | A97US2V080C16X-*-* | 80000 | 97.5
ARMSTRONG AIR | A97US2V080C20X-*-* | 80000 | 97.5
AIREASE | A97US2V080C20X-*-* | 80000 | 97.5
GE | NF97X060V3B-* | 60000 | 97.5
GE | NF97X080V4C-* | 80000 | 97.5
GE | NF97X080V5C-* | 80000 | 97.5
GE | NF97X040V3B-* | 40000 | 97.5
AMERICAN STANDARD | S9V2B080D4VS*** | 80000 | 97
AMERICAN STANDARD | S9V2B080U4VS*** | 80000 | 97
TRANE | S9V2B080D4VS*** | 80000 | 97
TRANE | S9V2B080U4VS*** | 80000 | 97
AMERICAN STANDARD | S9V2D120U5VS*** | 120000 | 97
AMERICAN STANDARD | S9V2C100U4VS*** | 100000 | 97
AMERICAN STANDARD | S9V2C100D4VS*** | 100000 | 97
AMERICAN STANDARD | S9V2B060U3VS*** | 60000 | 97
AMERICAN STANDARD | S9V2B040U3VS*** | 40000 | 97
TRANE | S9V2C100D4VS*** | 100000 | 97
TRANE | S9V2D120U5VS*** | 120000 | 97
TRANE | S9V2C100U4VS*** | 100000 | 97
TRANE | S9V2B060U3VS*** | 60000 | 97
TRANE | S9V2B040U3VS*** | 40000 | 97
AMERICAN STANDARD | AUHMB060ACV3V** | 60000 | 97.3
AMERICAN STANDARD | AUHMB080ACV3V** | 80000 | 97
AMERICAN STANDARD | AUHMD120ACV5V** | 120000 | 97
TRANE | TUHMD120ACV5V** | 120000 | 97
TRANE | TUHMB080ACV3V** | 80000 | 97
TRANE | TUHMB060ACV3V** | 60000 | 97.3
TRANE | TUHMD120CCV5V** | 120000 | 97
TRANE | TUHMB080CCV3V** | 80000 | 97
TRANE | TUHMB060CCV3V** | 60000 | 97.3
AMERICAN STANDARD | AUHMD120CCV5V** | 120000 | 97
AMERICAN STANDARD | AUHMB080CCV3V** | 80000 | 97
AMERICAN STANDARD | AUHMB060CCV3V** | 60000 | 97.3
AMERICAN STANDARD | S9V2B060D3VS*** | 60000 | 97
TRANE | S9V2B060D3VS*** | 60000 | 97
AMANA | ACVM971005CN | 100000 | 97
AMANA | ACVM970804CN | 80000 | 97
AMANA | ACVM970803BN | 80000 | 97
AMANA | ACVM970603BN | 60000 | 97
AMANA | AMVM971205DN | 120000 | 97
AMANA | AMVM971005CN | 100000 | 97
AMANA | AMVM970804CN | 80000 | 97
AMANA | AMVM970803BN | 80000 | 97
AMANA | AMVM970603BN | 60000 | 97
DAIKIN | DC97MC1005CN | 100000 | 97
DAIKIN | DC97MC0804CN | 80000 | 97
DAIKIN | DC97MC0803BN | 80000 | 97
DAIKIN | DC97MC0603BN | 60000 | 97
DAIKIN | DM97MC1205DN | 120000 | 97
DAIKIN | DM97MC1005CN | 100000 | 97
DAIKIN | DM97MC0804CN | 80000 | 97
DAIKIN | DM97MC0803BN | 80000 | 97
DAIKIN | DM97MC0603BN | 60000 | 97
GOODMAN | GCVM971005CN | 100000 | 97
GOODMAN | GCVM970804CN | 80000 | 97
GOODMAN | GCVM970803BN | 80000 | 97
GOODMAN | GCVM970603BN | 60000 | 97
GOODMAN | GMVM971205DN | 120000 | 97
GOODMAN | GMVM971005CN | 100000 | 97
GOODMAN | GMVM970804CN | 80000 | 97
GOODMAN | GMVM970803BN | 80000 | 97
GOODMAN | GMVM970603BN | 60000 | 97
DETTSON | C15-M-V | 15000 | 97.3
DETTSON | C15-M-S | 15000 | 97.3
DETTSON | C15-M-S* | 15000 | 97.3
DETTSON | C120-M-V* | 120000 | 97
DETTSON | C15-M-V* | 15000 | 97.3
DETTSON | C120-M-V | 120000 | 97
JOHNSON CONTROLS | TP9C060B12MP13 | 60000 | 97.5
JOHNSON CONTROLS | TP9C080B12MP13 | 80000 | 97.5
JOHNSON CONTROLS | TP9C080C16MP13 | 80000 | 97.7
JOHNSON CONTROLS | TP9C100C16MP13 | 100000 | 97.7
JOHNSON CONTROLS | TP9C100C20MP13 | 100000 | 97.7
JOHNSON CONTROLS | TP9C120D20MP13 | 120000 | 98
COLEMAN BY JOHNSON CONTROLS | CP9C060B12MP13 | 60000 | 97.5
COLEMAN BY JOHNSON CONTROLS | CP9C080B12MP13 | 80000 | 97.5
COLEMAN BY JOHNSON CONTROLS | CP9C080C16MP13 | 80000 | 97.7
COLEMAN BY JOHNSON CONTROLS | CP9C100C16MP13 | 100000 | 97.7
COLEMAN BY JOHNSON CONTROLS | CP9C100C20MP13 | 100000 | 97.7
COLEMAN BY JOHNSON CONTROLS | CP9C120D20MP13 | 120000 | 98
LUXAIRE BY JOHNSON CONTROLS | LP9C060B12MP13 | 60000 | 97.5
LUXAIRE BY JOHNSON CONTROLS | LP9C080B12MP13 | 80000 | 97.5
LUXAIRE BY JOHNSON CONTROLS | LP9C080C16MP13 | 80000 | 97.7
LUXAIRE BY JOHNSON CONTROLS | LP9C100C16MP13 | 100000 | 97.7
LUXAIRE BY JOHNSON CONTROLS | LP9C100C20MP13 | 100000 | 97.7
LUXAIRE BY JOHNSON CONTROLS | LP9C120D20MP13 | 120000 | 98
COLEMAN BY JOHNSON CONTROLS | TP9C060B12MP13 | 60000 | 97.5
LUXAIRE BY JOHNSON CONTROLS | TP9C060B12MP13 | 60000 | 97.5
FRASER-JOHNSTON BY JOHNSON CONTROLS | TP9C060B12MP13 | 60000 | 97.5
COLEMAN BY JOHNSON CONTROLS | TP9C080B12MP13 | 80000 | 97.5
LUXAIRE BY JOHNSON CONTROLS | TP9C080B12MP13 | 80000 | 97.5
FRASER-JOHNSTON BY JOHNSON CONTROLS | TP9C080B12MP13 | 80000 | 97.5
COLEMAN BY JOHNSON CONTROLS | TP9C080C16MP13 | 80000 | 97.7
LUXAIRE BY JOHNSON CONTROLS | TP9C080C16MP13 | 80000 | 97.7
COLEMAN BY JOHNSON CONTROLS | TP9C100C16MP13 | 100000 | 97.7
FRASER-JOHNSTON BY JOHNSON CONTROLS | TP9C080C16MP13 | 80000 | 97.7
LUXAIRE BY JOHNSON CONTROLS | TP9C100C16MP13 | 100000 | 97.7
FRASER-JOHNSTON BY JOHNSON CONTROLS | TP9C100C16MP13 | 100000 | 97.7
COLEMAN BY JOHNSON CONTROLS | TP9C100C20MP13 | 100000 | 97.7
LUXAIRE BY JOHNSON CONTROLS | TP9C100C20MP13 | 100000 | 97.7
YORK BY JOHNSON CONTROLS | TP9C060B12MP13 | 60000 | 97.5
YORK BY JOHNSON CONTROLS | TP9C080B12MP13 | 80000 | 97.5
FRASER-JOHNSTON BY JOHNSON CONTROLS | TP9C100C20MP13 | 100000 | 97.7
YORK BY JOHNSON CONTROLS | TP9C080C16MP13 | 80000 | 97.7
YORK BY JOHNSON CONTROLS | TP9C100C16MP13 | 100000 | 97.7
YORK BY JOHNSON CONTROLS | TP9C100C20MP13 | 100000 | 97.7
YORK BY JOHNSON CONTROLS | TP9C120D20MP13 | 120000 | 98
COLEMAN BY JOHNSON CONTROLS | TP9C120D20MP13 | 120000 | 98
YORK BY JOHNSON CONTROLS | YP9C060B12MP13 | 60000 | 97.5
LUXAIRE BY JOHNSON CONTROLS | TP9C120D20MP13 | 120000 | 98
YORK BY JOHNSON CONTROLS | YP9C080B12MP13 | 80000 | 97.5
YORK BY JOHNSON CONTROLS | YP9C080C16MP13 | 80000 | 97.7
FRASER-JOHNSTON BY JOHNSON CONTROLS | TP9C120D20MP13 | 120000 | 98
YORK BY JOHNSON CONTROLS | YP9C100C16MP13 | 100000 | 97.7
YORK BY JOHNSON CONTROLS | YP9C100C20MP13 | 100000 | 97.7
YORK BY JOHNSON CONTROLS | YP9C120D20MP13 | 120000 | 98
CHAMPION HEATING AND COOLING | TP9C060B12MP13 | 60000 | 97.5
CHAMPION HEATING AND COOLING | TP9C080B12MP13 | 80000 | 97.5
CHAMPION HEATING AND COOLING | TP9C080C16MP13 | 80000 | 97.7
CHAMPION HEATING AND COOLING | TP9C100C16MP13 | 100000 | 97.7
CHAMPION HEATING AND COOLING | TP9C100C20MP13 | 100000 | 97.7
CHAMPION HEATING AND COOLING | TP9C120D20MP13 | 120000 | 98
FRIEDRICH | FR97MV0603A17DHS | 56000 | 97
FRIEDRICH | FR97MV0703A17DHS | 70000 | 97
FRIEDRICH | FR97MV0855A21DHS | 84000 | 97
FRIEDRICH | FR97MV1005A21DHS | 98000 | 97
FRIEDRICH | FR97MV1155A24DHS | 112000 | 97
FRIEDRICH | FR98MV0603A17UPS | 56000 | 98.7
FRIEDRICH | FR98MV0703A17UPS | 70000 | 98.3
FRIEDRICH | FR98MV1155A24UPS | 112000 | 98.6
FRIEDRICH | FR98MV1005A21UPS | 98000 | 98.1
RUUD | U98VB100M521USA | 98000 | 98.1
RHEEM | R97MV0603A17DHS | 56000 | 97
RHEEM | R97MV0703A17DHS | 70000 | 97
RHEEM | R97MV0855A21DHS | 84000 | 97
RHEEM | R97MV1005A21DHS | 98000 | 97
RHEEM | R97MV1155A24DHS | 112000 | 97
RHEEM | R98MV0603A17UPS | 56000 | 98.7
RHEEM | R98MV0703A17UPS | 70000 | 98.3
RHEEM | R98MV1005A21UPS | 98000 | 98.1
RHEEM | R98MV1155A24UPS | 112000 | 98.6
RUUD | U97MV0603A17DHS | 56000 | 97
RUUD | U97MV0703A17DHS | 70000 | 97
RUUD | U97MV0855A21DHS | 84000 | 97
RUUD | U97MV1005A21DHS | 98000 | 97
RUUD | U97MV1155A24DHS | 112000 | 97
RUUD | U98MV0603A17UPS | 56000 | 98.7
RUUD | U98MV0703A17UPS | 70000 | 98.3
RUUD | U98MV1005A21UPS | 98000 | 98.1
RUUD | U98MV1155A24UPS | 112000 | 98.6
SURE | S97MV0603A17DHS | 56000 | 97
SURE | S97MV0703A17DHS | 70000 | 97
SURE | S97MV0855A21DHS | 84000 | 97
SURE | S97MV1005A21DHS | 98000 | 97
SURE | S97MV1155A24DHS | 112000 | 97
SURE | S98MV0603A17UPS | 56000 | 98.7
SURE | S98MV0703A17UPS | 70000 | 98.3
SURE | S98MV1005A21UPS | 98000 | 98.1
SURE | S98MV1155A24UPS | 112000 | 98.6
RUSSELL | S97MV0603A17DHS | 56000 | 97
RUSSELL | S97MV0703A17DHS | 70000 | 97
RUSSELL | S97MV1005A21DHS | 98000 | 97
RUSSELL | S97MV0855A21DHS | 84000 | 97
RUSSELL | S97MV1155A24DHS | 112000 | 97
RUSSELL | S98MV0603A17UPS | 56000 | 98.7
RUSSELL | S98MV0703A17UPS | 70000 | 98.3
RUSSELL | S98MV1005A21UPS | 98000 | 98.1
RUSSELL | S98MV1155A24UPS | 112000 | 98.6
MAINLINE | ML97MV0603A17DHS | 56000 | 97
MAINLINE | ML97MV0703A17DHS | 70000 | 97
MAINLINE | ML97MV0855A21DHS | 84000 | 97
MAINLINE | ML97MV1005A21DHS | 98000 | 97
MAINLINE | ML97MV1155A24DHS | 112000 | 97
MAINLINE | ML98MV0603A17UPS | 56000 | 98.7
MAINLINE | ML98MV0703A17UPS | 70000 | 98.3
MAINLINE | ML98MV1005A21UPS | 98000 | 98.1
MAINLINE | ML98MV1155A24UPS | 112000 | 98.6
FUJITSU | FF97MV306017DHS*A | 56000 | 97
FUJITSU | FF97MV307017DHS*A | 70000 | 97
FUJITSU | FF97MV508521DHS*A | 84000 | 97
FUJITSU | FF97MV510021DHS*A | 98000 | 97
FUJITSU | FF97MV511524DHS*A | 112000 | 97
FUJITSU | FF98MV306017UPS*A | 56000 | 98.7
FUJITSU | FF98MV307017UPS*A | 70000 | 98.3
FUJITSU | FF98MV510021UPS*A | 98000 | 98.1
FUJITSU | FF98MV511524UPS*A | 112000 | 98.6

## Gas-Fired Boilers
Data current as of 05-09-2024
The data provided are the representations submitted to DOE by manufacturers and their third party representatives. DOE makes no representations or warranties regarding the accuracy of the data. Models must also meet Thermal Load Management requirement.
Brand | Model Number | Input Rating (BTU/hr) | Annual Fuel Utilization Efficiency (AFUE)
BURNHAM BY U.S. BOILER | ALP080B | 80000 | 95
BURNHAM BY U.S. BOILER | ALP105B | 105000 | 95
BURNHAM BY U.S. BOILER | ALP150B | 150000 | 95
BURNHAM BY U.S. BOILER | ALP210B | 210000 | 95
BURNHAM BY U.S. BOILER | ALP285B | 285000 | 95
VELOCITY BOILER WORKS | PHNTM210 | 210000 | 95
VELOCITY BOILER WORKS | PHNTM285 | 285000 | 95
BURNHAM BY U.S. BOILER | X-C150 | 150000 | 95
VELOCITY BOILER WORKS | SHADW150 | 150000 | 95
BURNHAM BY U.S. BOILER | K2WT-080B | 80000 | 95
BURNHAM BY U.S. BOILER | K2WT-100B | 100000 | 95
BURNHAM BY U.S. BOILER | K2WT-120B | 120000 | 95
BURNHAM BY U.S. BOILER | K2WT-150B | 150000 | 95
BURNHAM BY U.S. BOILER | K2WT-180B | 180000 | 95
VELOCITY BOILER WORKS | PHNTM100B | 100000 | 95
VELOCITY BOILER WORKS | PHNTM080B | 80000 | 95
VELOCITY BOILER WORKS | PHNTM120B | 120000 | 95
VELOCITY BOILER WORKS | PHNTM150B | 150000 | 95
VELOCITY BOILER WORKS | PHNTM180B | 180000 | 95
VELOCITY BOILER WORKS | RPTR085HB | 85000 | 96
VELOCITY BOILER WORKS | RPTR110HB | 110000 | 96
VELOCITY BOILER WORKS | RPTR155HB | 155000 | 95
VELOCITY BOILER WORKS | RPTR205HB | 205000 | 95
VELOCITY BOILER WORKS | RPTR270HB | 270000 | 95
VELOCITY BOILER WORKS | RPTR155CB | 155000 | 95
BURNHAM BY U.S. BOILER | ASPN-085 | 85000 | 96
BURNHAM BY U.S. BOILER | ASPN-110 | 110000 | 96
BURNHAM BY U.S. BOILER | ASPN-155 | 155000 | 95
BURNHAM BY U.S. BOILER | ASPN-205 | 205000 | 95
BURNHAM BY U.S. BOILER | ASPN-270 | 270000 | 95
BURNHAM BY U.S. BOILER | ASPNC-155 | 155000 | 95
BURNHAM BY U.S. BOILER | K2WTC-135B | 120000 | 95
BURNHAM BY U.S. BOILER | K2WTC-150B | 150000 | 95
BURNHAM BY U.S. BOILER | K2WTC-180B | 180000 | 95
VELOCITY BOILER WORKS | PHNTM135CB | 120000 | 95
VELOCITY BOILER WORKS | PHNTM150CB | 150000 | 95
VELOCITY BOILER WORKS | PHNTM180CB | 180000 | 95
NEW YORKER | GHE135CB | 120000 | 95
NEW YORKER | GHE150CB | 150000 | 95
NEW YORKER | GHE180CB | 180000 | 95
NEW YORKER | GHE80HB | 80000 | 95
NEW YORKER | GHE100HB | 100000 | 95
NEW YORKER | GHE120HB | 120000 | 95
NEW YORKER | GHE150HB | 150000 | 95
NEW YORKER | GHE180HB | 180000 | 95
BURNHAM BY U.S. BOILER | ALTAC-136 | 120000 | 95
NEW YORKER | GHE136CBII | 120000 | 95
VELOCITY BOILER WORKS | PHTM2136C | 120000 | 95
BURNHAM BY U.S. BOILER | ALTA-120 | 120000 | 95
BURNHAM BY U.S. BOILER | ALTA-150 | 150000 | 95
BURNHAM BY U.S. BOILER | ALTA-180 | 180000 | 95
BURNHAM BY U.S. BOILER | ALTAC-200 | 150000 | 95
VELOCITY BOILER WORKS | PHTM2120H | 120000 | 95
VELOCITY BOILER WORKS | PHTM2150H | 150000 | 95
VELOCITY BOILER WORKS | PHTM2180H | 180000 | 95
VELOCITY BOILER WORKS | PHTM2200C | 150000 | 95
NEW YORKER | GHE120HBII | 120000 | 95
NEW YORKER | GHE150HBII | 150000 | 95
NEW YORKER | GHE180HBII | 180000 | 95
NEW YORKER | GHE200CBII | 150000 | 95
NEW YORKER | GHE2C-136 | 120000 | 95
BURNHAM BY U.S. BOILER | ALTA-080 | 80000 | 95
BURNHAM BY U.S. BOILER | ALTA-120B | 120000 | 95
BURNHAM BY U.S. BOILER | ALTAC-136B | 120000 | 95
VELOCITY BOILER WORKS | PHTM2080H | 80000 | 95
VELOCITY BOILER WORKS | PHTM2120HB | 120000 | 95
VELOCITY BOILER WORKS | PHTM2136CB | 120000 | 95
VIESSMANN | CU3A-94 | 94000 | 95
VIESSMANN | CU3A-125 | 125000 | 95
VIESSMANN | CU3A-199 | 199000 | 95
VIESSMANN | CU3A-160 | 160000 | 95
VIESSMANN | B2TB-125 | 125000 | 95
VIESSMANN | B2HE-85 | 85000 | 95
VIESSMANN | B1HE-85 | 85000 | 95
VIESSMANN | B2HE-120 | 120000 | 95
VIESSMANN | B1HE-120 | 120000 | 95
VIESSMANN | B1KE-120 | 120000 | 95
VIESSMANN | B2HE-150 | 150000 | 95
VIESSMANN | B1HE-150 | 150000 | 95
VIESSMANN | B1HE-199 | 199000 | 95
VIESSMANN | B1KE-199 | 199000 | 95
VIESSMANN | B2HE-199 | 199000 | 95
NTI | TFT285 | 285000 | 95
NTI | NC199C | 199000 | 95
NTI | NC199 | 199000 | 95
NTI | NC150C | 150000 | 95
NTI | NC150 | 150000 | 95
NTI | NC110C | 110000 | 95
NTI | NC110 | 110000 | 95
NTI | NC085 | 85000 | 96
HTP | EFW-285WBN | 285000 | 95
NTI | TFTN285 | 285000 | 95
NTI | TFTN199 | 199000 | 95
NTI | TFTN150 | 150000 | 95
NTI | TFTN110 | 110000 | 95
NTI | TFTN085 | 85000 | 96
HTP | ELU-199WBN | 197000 | 95
HTP | ELU-199WCN | 197000 | 95
HTP | ELU-150WBN | 150000 | 95
HTP | EFTU-199WCN | 199000 | 95
HTP | EFTU-199WBN | 199000 | 95
HTP | EFTU-150WCN | 150000 | 95
HTP | EFTU-150WBN | 150000 | 95
HTP | EFTU-110WCN | 110000 | 95
HTP | EFTU-110WBN | 110000 | 95
HTP | EFTU-85WBN | 85000 | 96
NTI | FTVN199C | 199000 | 95
NTI | FTVN199 | 199000 | 95
NTI | FTVN150C | 150000 | 95
NTI | FTVN150 | 150000 | 95
NTI | FTVN110C | 110000 | 95
NTI | FTVN110 | 110000 | 95
NTI | FTVN085 | 85000 | 96
HTP | ELU-85WBN | 85000 | 96
NTI | TRX199 | 197000 | 95
NTI | TRX199C | 197000 | 95
NTI | TRX150 | 150000 | 95
HTP | ELU-120WBN | 120000 | 95
HTP | ELU-150WCN | 120000 | 95
HTP | ELU-120WCN | 106000 | 95.5
NTI | TRX120 | 120000 | 95
NTI | TRX150C | 120000 | 95
NTI | TRX110C | 106000 | 95.5
NTI | TRX085 | 85000 | 96
WEIL-MCLAIN | WM97+ 110-CT | 110000 | 95
WEIL-MCLAIN | EVG 220 | 220000 | 95
WEIL-MCLAIN | EVG 299 | 299000 | 95
WEIL-MCLAIN | EVG 110 | 110000 | 95
WEIL-MCLAIN | EVG 155 | 155000 | 95.1
WEIL-MCLAIN | AB-80-* | 80000 | 95
WEIL-MCLAIN | AB-120-* | 120000 | 95
WEIL-MCLAIN | AB-155-* | 155000 | 95
WILLIAMSON-THERMOFLO | FS-80-* | 80000 | 95
WILLIAMSON-THERMOFLO | FS-120-* | 120000 | 95
WILLIAMSON-THERMOFLO | FS-155-* | 155000 | 95
WEIL-MCLAIN | ECO TEC 80 | 80000 | 95
WEIL-MCLAIN | ECO TEC 110 | 110000 | 95
WEIL-MCLAIN | ECO TEC 150 | 150000 | 95
WEIL-MCLAIN | ECO TEC 199 | 199000 | 95
IBC TECHNOLOGIES | HC 13-50 | 51000 | 95
IBC TECHNOLOGIES | DC 20-125 | 125000 | 95
IBC TECHNOLOGIES | HC 20-125 | 125000 | 95
IBC TECHNOLOGIES | SL 26-260G3 | 260000 | 95
IBC TECHNOLOGIES | SL 14-115G3 | 115000 | 95
IBC TECHNOLOGIES | SL 20-160G3 | 160000 | 95
IBC TECHNOLOGIES | SL 30-199G3 | 199000 | 95
IBC TECHNOLOGIES | SL 10-85G3 | 85000 | 96
Rheem | RCBH180DVL* | 100000 | 95
Rheem | RCBH199DVL* | 120000 | 95
Ruud | RUCBH180DVL* | 100000 | 95
Ruud | RUCBH199DVL* | 120000 | 95
IBC TECHNOLOGIES | IBGFSW1-0110 | 110000 | 95
IBC TECHNOLOGIES | IBGFSW1-0150 | 150000 | 95
IBC TECHNOLOGIES | IBGFSW1-0199 | 199000 | 95
IBC TECHNOLOGIES | SFB 99* | 99000 | 96
IBC TECHNOLOGIES | SFC 99* | 99000 | 96
IBC TECHNOLOGIES | SFC 125* | 99000 | 95
IBC TECHNOLOGIES | SFC 199* | 125000 | 95
IBC TECHNOLOGIES | SFB 120* | 120000 | 95
IBC TECHNOLOGIES | ICGFSW1-0150 | 150000 | 95
IBC TECHNOLOGIES | ICGFSW1-0199 | 199000 | 95
Rheem | CRHBH-L99* | 99000 | 96
Ruud | CRUHBH-L99* | 99000 | 96
Rheem | CRHBH-L120* | 120000 | 95
Ruud | CRUHBH-L120* | 120000 | 95
Rheem | CRCBH-L99* | 99000 | 96
Rheem | CRCBH-L125* | 99000 | 95
Ruud | CRUCBH-L125* | 99000 | 95
Rheem | CRCBH-L199* | 125000 | 95
Ruud | CRUCBH-L199* | 125000 | 95
Rheem | RHBH-L99* | 99000 | 96
Rheem | ECOHBH-L99* | 99000 | 96
Ruud | RUHBH-L99* | 99000 | 96
Richmond | RMHBH-L99* | 99000 | 96
Rheem | RHBH-L120* | 120000 | 95
Rheem | ECOHBH-L120* | 120000 | 95
Ruud | RUHBH-L120* | 120000 | 95
Richmond | RMHBH-L120* | 120000 | 95
Rheem | RCBH-L125* | 99000 | 95
Rheem | ECOCBH-L125* | 99000 | 95
Ruud | RUCBH-L125* | 99000 | 95
Richmond | RMCBH-L125* | 99000 | 95
Rheem | RCBH-L199* | 125000 | 95
Rheem | ECOCBH-L199* | 125000 | 95
Ruud | RUCBH-L199* | 125000 | 95
Richmond | RMCBH-L199* | 125000 | 95
HTP | ELUD-285FBLP | 285000 | 95
HTP | ELUD-285FBN | 285000 | 95
LAARS | NTH105 | 105000 | 95
LAARS | NTH080 | 80000 | 95
LAARS | NTH210 | 210000 | 95
LAARS | NTH150 | 150000 | 95
LAARS | NTH285 | 285000 | 95
BRADFORD WHITE | BNTH080 | 80000 | 95
BRADFORD WHITE | BNTH105 | 105000 | 95
BRADFORD WHITE | BNTH150 | 150000 | 95
BRADFORD WHITE | BNTH210 | 210000 | 95
BRADFORD WHITE | BNTH285 | 285000 | 95
LAARS | MFTHW140(N,P)**** | 140000 | 95
LAARS | MFTC(F,W)140(N,P)**** | 140000 | 95
BRADFORD WHITE | BMFTC(F,W)140(N,P)**** | 140000 | 95
BRADFORD WHITE | BMFTHW140(N,P)**** | 140000 | 95
LAARS | MFTHW080(N,P)**** | 80000 | 95
LAARS | MFTHW100(N,P)**** | 100000 | 95
LAARS | MFTHW120(N,P)**** | 120000 | 95
LAARS | MFTHW199(N,P)**** | 199000 | 95
LAARS | MFTCW199(N,P)**** | 199000 | 95
LAARS | MFTCF199(N,P)**** | 199000 | 95
BRADFORD WHITE | BMFTCF199(N,P)**** | 199000 | 95
BRADFORD WHITE | BMFTCW199(N,P)**** | 199000 | 95
BRADFORD WHITE | BMFTHW100(N,P)**** | 100000 | 95
BRADFORD WHITE | BMFTHW120(N,P)**** | 120000 | 95
BRADFORD WHITE | BMFTHW199(N,P)**** | 199000 | 95
LAARS | LFTCF199N | 199000 | 95.3
LAARS | LFTHF199N | 199000 | 95.3
BRADFORD WHITE | BFTCF199N | 199000 | 95.3
BRADFORD WHITE | BFTHF199N | 199000 | 95.3
VESTA. DS, Inc. | VRB-110 | 110000 | 95
VESTA. DS, Inc. | VRC-80 | 80000 | 95
VESTA. DS, Inc. | VRC-100 | 100000 | 95
VESTA. DS, Inc. | VRC-120 | 120000 | 95
VESTA. DS, Inc. | VRC-140 | 140000 | 95
Bosch | SINGULAR 4000 | 80000 | 95
Bosch | SINGULAR 5200 | 140000 | 95
LOCHINVAR | NKC110(N,L) | 110000 | 95
LOCHINVAR | NKC150(N,L) | 150000 | 95
LOCHINVAR | NKC199(N,L) | 199000 | 95
LOCHINVAR | EPC110(N,L) | 110000 | 95
LOCHINVAR | EPC150(N,L) | 150000 | 95
LOCHINVAR | EPC199(N,L) | 199000 | 95
LOCHINVAR | EPB080(N,L) | 80000 | 95
LOCHINVAR | EPB110(N,L) | 110000 | 95
LOCHINVAR | EPB150(N,L) | 150000 | 95
LOCHINVAR | EPB199(N,L) | 199000 | 95
LOCHINVAR | WHB055(N,L) | 55000 | 95
LOCHINVAR | WHB085(N,L) | 85000 | 95
LOCHINVAR | WHB110(N,L) | 110000 | 95
LOCHINVAR | WHB155(N,L) | 155000 | 95
LOCHINVAR | WHB199(N,L) | 199000 | 95
LOCHINVAR | WHB285(N,L) | 285000 | 95
LOCHINVAR | KHB285(N,L) | 285000 | 95
LOCHINVAR | KHB055(N,L) | 55000 | 95
LOCHINVAR | KHB085(N,L) | 85000 | 95
LOCHINVAR | KHB110(N,L) | 110000 | 95
LOCHINVAR | KHB155(N,L) | 155000 | 95
LOCHINVAR | KHB199(N,L) | 199000 | 95
LOCHINVAR | NKB080(N,L) | 80000 | 95
LOCHINVAR | NKB110(N,L) | 110000 | 95
LOCHINVAR | NKB150(N,L) | 150000 | 95
LOCHINVAR | EPB110(N,L)-CAN | 99000 | 95
LOCHINVAR | NKB199(N,L) | 199000 | 95
A. O. Smith | ACB-110* | 110000 | 95
A. O. Smith | ACB-150* | 150000 | 95
A. O. Smith | ACB-199* | 199000 | 95
State | SCB-150* | 150000 | 95
State | SCB-199* | 199000 | 95
State | SCB-110* | 110000 | 95
LOCHINVAR | EFC110(N,L) | 110000 | 95
LOCHINVAR | EFC150(N,L) | 150000 | 95
LOCHINVAR | EFC199(N,L) | 199000 | 95
LOCHINVAR | NCF110(N,L) | 110000 | 95
LOCHINVAR | NCF150(N,L) | 150000 | 95
LOCHINVAR | NCF199(N,L) | 199000 | 95
CAMUS HYDRONICS LTD. | VAPH-0299 | 299000 | 95
CAMUS HYDRONICS LTD. | VANH-0299 | 299000 | 95
CAMUS HYDRONICS LTD. | VAPH-0250 | 250000 | 95
CAMUS HYDRONICS LTD. | VANH-0250 | 250000 | 95
CAMUS HYDRONICS LTD. | VAPH-0199 | 199000 | 95
CAMUS HYDRONICS LTD. | VANH-0199 | 199000 | 95
CAMUS HYDRONICS LTD. | VAPH-0155 | 155000 | 95
CAMUS HYDRONICS LTD. | VANH-0155 | 155000 | 95
CAMUS HYDRONICS LTD. | VAPH-0110 | 110000 | 95
CAMUS HYDRONICS LTD. | VANH-0110 | 110000 | 95
CAMUS HYDRONICS LTD. | VAPH-0080 | 80000 | 95
CAMUS HYDRONICS LTD. | VANH-0080 | 80000 | 95
NAVIEN | NHB-055 | 55000 | 95
NAVIEN | NHB-080 | 80000 | 95
NAVIEN | NHB-110 | 110000 | 95
NAVIEN | NHB-150 | 150000 | 95
NAVIEN | NCB-240/110H | 110000 | 95
NAVIEN | NCB-240/130H | 130000 | 95
NAVIEN | NCB-250/150H | 150000 | 95
NAVIEN | NCB-190/060H | 60000 | 95
NAVIEN | NCB-190/080H | 80000 | 95
NAVIEN | NFC-250/175H | 175000 | 95
NAVIEN | NFC-250/200H | 199000 | 95
NAVIEN | NFB-175H | 175000 | 95
NAVIEN | NFB-200H | 199000 | 95
NAVIEN | NHB-055H | 55000 | 95
NAVIEN | NHB-080H | 80000 | 95
NAVIEN | NHB-110H | 110000 | 95
NAVIEN | NHB-150H | 150000 | 95
RINNAI | I120C (REB-A3558FF-US) | 120000 | 95.5
RINNAI | I090C (REB-A2647FF-US) | 90000 | 95.9
RINNAI | I060C (REB-A1847FF-US) | 60000 | 95.1
RINNAI | I150S (REB-A4400FF-US) | 150000 | 96
RINNAI | I120S (REB-A3500FF-US) | 120000 | 95.5
RINNAI | I090S (REB-A2600FF-US) | 90000 | 95.9
RINNAI | I060S (REB-A1800FF-US) | 60000 | 95.1
RINNAI | IP060S (REB-B1800FFUS) | 60000 | 95.4
RINNAI | IP090S (REB-B2600FFUS) | 90000 | 95.2
RINNAI | IP120S (REB-B3500FFUS) | 120000 | 95.1
RINNAI | IP150S (REB-B4400FFUS) | 150000 | 95.3
RINNAI | IP060160C (REB-B1847FF-US) | 60000 | 95.4
RINNAI | IP090099C (REB-B2630FF-US) | 90000 | 95.2
RINNAI | IP090199C (REB-B2658FF-US) | 90000 | 95.2
RINNAI | IP120199C (REB-B3558FF-US) | 90000 | 95
RINNAI | IP150199C (REB-B4458FF-US) | 120000 | 95.2
RINNAI | IP090160C (REB-B2647FF-US) | 150000 | 95.3
PEAK | PEAK40 | 100000 | 95.1
PEERLESS | PBC-52 | 120000 | 95.3
PEERLESS | PBC-40 | 100000 | 95.1
PEERLESS | PBC-34 | 80000 | 95
PEERLESS | PFW-200-LP | 199000 | 95
PEERLESS | PF-200-LP | 199000 | 95
PEERLESS | PFW-200-NAT | 199000 | 95
PEERLESS | PF-200-NAT | 199000 | 95
PEERLESS | PFW-210-LP | 210000 | 95.1
PEERLESS | PFW-210-NAT | 210000 | 95.1
PEERLESS | PF-80 | 80000 | 95
PEERLESS | PF-140 | 140000 | 95
PEERLESS | PF-210 NAT | 210000 | 95.1
PEERLESS | PF-110 | 110000 | 95
PEERLESS | PF-50 | 50000 | 95
PEERLESS | PF-210 LP | 210000 | 95.1
PAVILION | PV199DV (GHQ-C3201WX-FF PB US) | 120000 | 95
NORITZ | NRCB199DV (GHQ-C3201WX-FF US) | 120000 | 95
NORITZ | NRCB180DV (GHQ-C2801WX-FF US) | 100000 | 95
RAYPAK | H7-198AR* | 199000 | 95
RAYPAK | H7-088AR | 85000 | 95
RAYPAK | H7-108AR* | 110000 | 95
Radiant | R2K 24 | 88000 | 96
Radiant | R2K 34 | 116000 | 96
Radiant | R2K 55 | 187000 | 96
Radiant | R2KA 24/20 | 88000 | 96
Radiant | R1K 34/B | 116000 | 96
Radiant | R2KA 34/20 | 116000 | 96
Radiant | R1K 55 | 187000 | 96
DUNKIRK | DCC-115 | 93000 | 95
UTICA BOILERS | MAC-115 | 93000 | 95
LENNOX | GCWB95F150 | 125000 | 95
LENNOX | GCWB95W205 | 164000 | 95
LENNOX | GCWB95W150 | 125000 | 95
DUNKIRK BOILERS | DCBF-165 | 164000 | 95
DUNKIRK BOILERS | DCCF-205 | 164000 | 95
UTICA BOILERS | MAHF-165 | 164000 | 95
UTICA BOILERS | MACF-205 | 164000 | 95
UTICA BOILERS | MAHF-125 | 125000 | 95
UTICA BOILERS | MACF-150 | 125000 | 95
DUNKIRK BOILERS | DCBF-125 | 125000 | 95
DUNKIRK BOILERS | DCCF-150 | 125000 | 95
BAXI | LUNA DUO-TEC 1.48 GA | 164000 | 95
BAXI | LUNA DUO-TEC 60 GA | 164000 | 95
GREEN MOUNTAIN | GMHB227 | 227000 | 95
GREEN MOUNTAIN | GMCB200 | 160000 | 95
GREEN MOUNTAIN | GMHB160 | 160000 | 95
GREEN MOUNTAIN | GMCB150 | 122000 | 95
GREEN MOUNTAIN | GMHB125 | 122000 | 95
ECR INTERNATIONAL | ECR-227 | 227000 | 95
ECR INTERNATIONAL | ECR-200 | 160000 | 95
ECR INTERNATIONAL | ECR-160 | 160000 | 95
ECR INTERNATIONAL | ECR-147 | 122000 | 95
ECR INTERNATIONAL | ECR-122 | 122000 | 95
KENMORE | DCB-165 | 164000 | 95
KENMORE | DCC-205 | 164000 | 95
DUNKIRK BOILERS | DCC-205 | 164000 | 95
DUNKIRK BOILERS | DCB-165 | 164000 | 95
UTICA BOILERS | MAC-205 | 164000 | 95
UTICA BOILERS | MAH-165 | 164000 | 95
CARRIER | BWMAAN000200 | 200000 | 95
BRYANT | BWMAAN000200 | 200000 | 95
CARRIER | BWMAAN000150 | 150000 | 95
BRYANT | BWMAAN000150 | 150000 | 95
CARRIER | BWMAAN000100 | 100000 | 95
BRYANT | BWMAAN000100 | 100000 | 95
CARRIER | BWMAAN000075 | 75000 | 95
BRYANT | BWMAAN000075 | 75000 | 95
CARRIER | BWMAAN000050 | 50000 | 95
BRYANT | BWMAAN000050 | 50000 | 95
BAXI | DUO-TEC COMPACT 30 GA | 93000 | 95
DUNKIRK BOILERS | DMG-240 | 241000 | 95
UTICA BOILERS | UCS-240 | 241000 | 95
BAXI | LUNA DUO-TEC 1.70 | 241000 | 95
KENMORE | DCB-125 | 125000 | 95
KENMORE | DCC-150 | 125000 | 95
DUNKIRK BOILERS | DCB-125 | 125000 | 95
DUNKIRK BOILERS | DCC-150 | 125000 | 95
UTICA BOILERS | MAH-125 | 125000 | 95
UTICA BOILERS | MAC-150 | 125000 | 95
BAXI | LUNA DUO-TEC 1.33 GA | 125000 | 95
BAXI | LUNA DUO-TEC 40 GA | 125000 | 95
UTICA BOILERS | MAH-100 | 93000 | 95
DUNKIRK | DCB-100 | 93000 | 95
UTICA BOILERS | MAHF-100 | 93000 | 95
DUNKIRK | DCBF-100 | 93000 | 95
UTICA BOILERS | MACF-115 | 93000 | 95
DUNKIRK | DCCF-115 | 93000 | 95
Conforto | MAH-125 | 125000 | 95
Conforto | MAH-165 | 164000 | 95
Conforto | MAHF-125 | 125000 | 95
Conforto | MAHF-165 | 164000 | 95
Conforto | MAH-100 | 93000 | 95
Conforto | MAHF-100 | 93000 | 95
Conforto | MAC-150 | 125000 | 95
Conforto | MAC-205 | 164000 | 95
Conforto | MACF-150 | 125000 | 95
Conforto | MACF-205 | 164000 | 95
Conforto | MAC-115 | 93000 | 95
Conforto | MACF-115 | 93000 | 95
Conforto | UCS-240 | 241000 | 95
UTICA BOILERS | CH-80 | 80000 | 95.2
UTICA BOILERS | CH-100 | 100000 | 95.2
UTICA BOILERS | CH-120 | 120000 | 95.2
UTICA BOILERS | CH-150 | 150000 | 95.2
UTICA BOILERS | CH-180 | 180000 | 95.2
UTICA BOILERS | CO-90 | 80000 | 95.2
UTICA BOILERS | CO-150 | 120000 | 95.2
DUNKIRK | CH-80 | 80000 | 95.2
DUNKIRK | CH-100 | 100000 | 95.2
DUNKIRK | CH-120 | 120000 | 95.2
DUNKIRK | CH-150 | 150000 | 95.2
DUNKIRK | CH-180 | 180000 | 95.2
DUNKIRK | CO-90 | 80000 | 95.2
DUNKIRK | CO-150 | 120000 | 95.2
Conforto | CH-80 | 80000 | 95.2
Conforto | CH-100 | 100000 | 95.2
CARRIER | BWMAAN000100AAAA | 100000 | 95
Conforto | CH-120 | 120000 | 95.2
CARRIER | BWMAAN000075AAAA | 75000 | 95
Conforto | CH-150 | 150000 | 95.2
CARRIER | BWMAAN000050AAAA | 50000 | 95
Conforto | CH-180 | 180000 | 95.2
Conforto | CO-90 | 80000 | 95.2
Conforto | CO-150 | 120000 | 95.2
Conforto | CO-200 | 180000 | 95.2
DUNKIRK | CO-200 | 180000 | 95.2
UTICA BOILERS | CO-200 | 180000 | 95.2
LENNOX | GWM-200IE | 200000 | 95
LENNOX | GWM-150IE | 150000 | 95
LENNOX | GWM-100IE | 100000 | 95
LENNOX | GWM-075IE | 75000 | 95
LENNOX | GWM-050IE | 50000 | 95
UTICA BOILERS | UBSSC-200 | 200000 | 95
UTICA BOILERS | UBSSC-150 | 150000 | 95
UTICA BOILERS | UBSSC-100 | 100000 | 95
UTICA BOILERS | UBSSC-075 | 75000 | 95
UTICA BOILERS | UBSSC-050 | 50000 | 95
DUNKIRK BOILERS | DKVLT-200 | 200000 | 95
DUNKIRK BOILERS | DKVLT-150 | 150000 | 95
DUNKIRK BOILERS | DKVLT-100 | 100000 | 95
DUNKIRK BOILERS | DKVLT-075 | 75000 | 95
DUNKIRK BOILERS | DKVLT-050 | 50000 | 95
KENMORE | DKVLT-100 | 100000 | 95
KENMORE | DKVLT-075 | 75000 | 95
KENMORE | DKVLT-050 | 50000 | 95
BOSCH | ZWB 35-3 | 132000 | 95
BOSCH | ZBR 21-3 | 79000 | 95
BOSCH | KBR 21-3 | 79000 | 95
BOSCH | KBR 28-3 | 101000 | 95
BOSCH | ZWB 42-3 | 152000 | 95
BOSCH | ZBR 42-3 | 152000 | 95
BOSCH | KBR 35-3 | 132000 | 95
BOSCH | KBR 42-3 | 152000 | 95
BOSCH | KWB 28-3 | 101000 | 95
BOSCH | KWB 35-3 | 132000 | 95
BOSCH | KWB 42-3 | 152000 | 95
BOSCH | ZBR 35-3 | 132000 | 95
BOSCH | ZWB 28-3 | 101000 | 95
BOSCH | ZBR 28-3 | 101000 | 95
NEW YORKER | GHE2C-136B | 120000 | 95
NEW YORKER | GHE2-120B | 120000 | 95
NEW YORKER | GHE2-080 | 80000 | 95
NEW YORKER | GHE2C-200 | 150000 | 95
NEW YORKER | GHE2-180 | 180000 | 95
NEW YORKER | GHE2-150 | 150000 | 95
NEW YORKER | GHE2-120 | 120000 | 95
Ideal USA | EXALT FSB SOLO 199 | 199000 | 95
Ideal USA | EXALT FSB COMBI 155 | 155000 | 95
Ideal USA | EXALT FSB COMBI 199 | 199000 | 95
TRIANGLE TUBE | SOLO 250 | 240000 | 95
TRIANGLE TUBE | SOLO 175 | 170000 | 95
TRIANGLE TUBE | SOLO 110 | 110000 | 95
TRIANGLE TUBE | EXCELLENCE 110 | 110000 | 95
TRIANGLE TUBE | SOLO 80 | 80000 | 95
TRIANGLE TUBE | SOLO 155 | 153000 | 95
TRIANGLE TUBE | SOLO 299 | 299000 | 95
TRIANGLE TUBE | INSTINCT SOLO 110 | 110000 | 95
TRIANGLE TUBE | INSTINCT SOLO 155 | 155000 | 95
TRIANGLE TUBE | INSTINCT COMBI 155 | 155000 | 95
TRIANGLE TUBE | INSTINCT SOLO 199 | 199000 | 95
TRIANGLE TUBE | INSTINCT COMBI 199 | 199000 | 95
Ideal USA | EXALT SOLO 110 | 110000 | 95
Ideal USA | EXALT SOLO 155 | 155000 | 95
Ideal USA | EXALT SOLO 199 | 199000 | 95
Ideal USA | EXALT COMBI 155 | 155000 | 95
Ideal USA | EXALT COMBI 199 | 199000 | 95
Ideal USA | GALLANT SOLO 250 | 240000 | 95
Ideal USA | GALLANT SOLO 299 | 299000 | 95
TRIANGLE TUBE | INSTINCT FSB SOLO 110 | 110000 | 95
TRIANGLE TUBE | INSTINCT FSB SOLO 155 | 155000 | 95
TRIANGLE TUBE | INSTINCT FSB SOLO 199 | 199000 | 95
TRIANGLE TUBE | INSTINCT FSB COMBI 155 | 155000 | 95
TRIANGLE TUBE | INSTINCT FSB COMBI 199 | 199000 | 95
Ideal USA | EXALT FSB SOLO 110 | 110000 | 95
Ideal USA | EXALT FSB SOLO 155 | 155000 | 95
ENERGY KINETICS | EK1C-90 | 90000 | 96.6
ENERGY KINETICS | EK1C-120 | 120000 | 96.4
ENERGY KINETICS | EK2C-150 | 150000 | 96.8
ENERGY KINETICS | EK2C-200 | 200000 | 96.7
ENERGY KINTETICS | EK1G-120 | 140000 | 95.2
ENERGY KINTETICS | EK1G-200 | 200000 | 95
ENERGY KINTETICS | EK1C-90 | 90000 | 96.6
ENERGY KINTETICS | EK1C-120 | 120000 | 96.4
ENERGY KINTETICS | EK2C-150 | 150000 | 96.8
ENERGY KINTETICS | EK2C-200 | 200000 | 96.7
NEW YORKER | GHE2-120 | 120000 | 95
NEW YORKER | GHE2-150 | 150000 | 95
NEW YORKER | GHE2-180 | 180000 | 95
NEW YORKER | GHE2C-200 | 150000 | 95
NEW YORKER | GHE2-080 | 80000 | 95
NEW YORKER | GHE2-120B | 120000 | 95
NEW YORKER | GHE2C-136B | 120000 | 95