## Gas-Fired Storage
Data current as of 05-09-2024
The data provided are the representations submitted to DOE by manufacturers and their third party representatives. DOE makes no representations or warranties regarding the accuracy of the data.
Brand | Model Number | Rated Storage Volume (gal) | Draw Pattern | Uniform Energy Factor (UEF)
RHEEM | PRO+G40-50U RH HE EC1 | 40 | High | 0.9
RHEEM | PRO+G40-50P RH HE EC1 | 40 | High | 0.9
RHEEM | XG40T09UHN50U0 | 40 | High | 0.9
RHEEM | XP40T09UHC50U0 | 40 | High | 0.9
RUUD | PRO+G50-50U RU HE EC1 | 50 | High | 0.88
RUUD | PRO+G50-50P RU HE EC1 | 50 | High | 0.88
RICHMOND | 9GUH50-50FN | 50 | High | 0.88
RICHMOND | 9GUH50-50FP | 50 | High | 0.88
RHEEM | PRO+G50-50U RH HE EC1 | 50 | High | 0.88
RHEEM | PRO+G50-50P RH HE EC1 | 50 | High | 0.88
RHEEM | XG50T09UHN50U0 | 50 | High | 0.88
RHEEM | XP50T09UHN50U0 | 50 | High | 0.88
RUUD | PRO+G40-50U RU HE EC1 | 40 | High | 0.9
RUUD | PRO+G40-50P RU HE EC1 | 40 | High | 0.9
RICHMOND | 9GUH40-50FN | 40 | High | 0.9
RICHMOND | 9GUH40-50FP | 40 | High | 0.9
RHEEM | PROP G40-50* RH HE EC3 | 40 | High | 0.9
RHEEM | PROP G50-50* RH HE EC3 | 50 | High | 0.88
RHEEM | PROP G40-50* CN HE** | 40 | High | 0.9
RHEEM | XG40S12UHN50* | 40 | High | 0.9
RHEEM | XP40S12UHC50* | 40 | High | 0.9
RHEEM | ECE G40-50U CN HE* | 40 | High | 0.9
RUUD | PROU G40-50* RU HE EC3 | 40 | High | 0.9
RICHMOND | 12GUH40-50F* | 40 | High | 0.9
RHEEM | PROP G50-50* CN HE** | 50 | High | 0.88
RHEEM | XG50T12UHN50* | 50 | High | 0.88
RHEEM | XP50T12UHC50* | 50 | High | 0.88
RHEEM | ECE G50-50U CN HE* | 50 | High | 0.88
RUUD | PROU G50-50* RU HE EC3 | 50 | High | 0.88
RICHMOND | 12GUH50-50F* | 50 | High | 0.88
STATE | GP6-40-*RPCSL 1** | 38 | High | 0.9
AMERICAN | PCG62-50S65L 1** | 49 | High | 0.9
Envirosense Reliance Home Comfort | ENV-40N-RHC 1** | 38 | High | 0.9
Envirosense Enercare | ENV-50N-ENER 1** | 49 | High | 0.9
Envirosense | ENV-50N 1** | 49 | High | 0.9
Envirosense Enercare | ENV-40N-ENER 1** | 38 | High | 0.9
Envirosense | ENV-40N 1** | 38 | High | 0.9
STATE | GP6-50-*XPCSL 1** | 49 | High | 0.9
RELIANCE WATER HEATERS | 6-50-*XPCS 1** | 49 | High | 0.9
A. O. SMITH | GPCC-50L 1** | 49 | High | 0.9
A. O. SMITH | GC6-PS5065*V 1** | 49 | High | 0.9
RELIANCE WATER HEATERS | 6-40-*RPCS 1** | 38 | High | 0.9
AMERICAN | PCG62-40S50L 1** | 38 | High | 0.9
A. O. SMITH | GPCC-40L 1** | 38 | High | 0.9
A. O. SMITH | GC6-PS4050*V 1** | 38 | High | 0.9
A. O. SMITH | GPCX-50L 1** | 49 | High | 0.9
A. O. SMITH | GPCT-40L 1** | 38 | High | 0.9
Envirosense Reliance Home Comfort | ENV-50N-RHC 1** | 49 | High | 0.9
RUUD | PRO+G50-50U RU HE EC1 | 40 | High | 0.9
RUUD | PRO+G50-50P RU HE EC1 | 40 | High | 0.9
RICHMOND | 9GUH50-50FN | 40 | High | 0.9
RICHMOND | 9GUH50-50FP | 40 | High | 0.9

## Gas-Fired Residential Duty Comm
Data current as of 05-09-2024
The data provided are the representations submitted to DOE by manufacturers and their third party representatives. DOE makes no representations or warranties regarding the accuracy of the data.
Brand | Model Number | Rated Storage Volume (gal) | Uniform Energy Factor (UEF)
STATE | GP6-50-*TPDT 3** | 49 | 0.88
STATE | GP6-75- *TPDT 3** | 74 | 0.86
A. O. SMITH | GPHE-50 1** | 48 | 0.88
GSW WATER HEATERS | 6G5076NVC 1** | 48 | 0.88
GSW WATER HEATERS | 6G5076NVC02 1** | 48 | 0.88
AMERICAN | VG6250T76NV 1** | 48 | 0.88
RELIANCE WATER HEATERS | 6-50-YTVIT 1** | 48 | 0.88
STATE | GP6-50-YTVIT 1** | 48 | 0.88
GSW WATER HEATERS | 6G50100*PDVH 3** | 49 | 0.88
AMERICAN | VG6250T100*V 3** | 49 | 0.88
RELIANCE WATER HEATERS | 6-50-*TPDT 3** | 49 | 0.88
GSW WATER HEATERS | 6G75100*PDVH0* 3** | 74 | 0.86
AMERICAN | VG6275T100*V 3** | 74 | 0.86
RELIANCE WATER HEATERS | 6-75- *TPDT 3** | 74 | 0.86
AMERICAN | PG10 34 100 2*V 2** | 33 | 0.9
AMERICAN | PR-34-100 * 2** | 33 | 0.9
A. O. SMITH | GSP-100 2** | 33 | 0.9
LOCHINVAR | SWN100035 2** | 33 | 0.9
LOCHINVAR | SWL100035 2** | 33 | 0.9
STATE | GHX-34-100 N 2** | 33 | 0.9
A. O. SMITH | GDHE-50 3** | 49 | 0.88
A. O. SMITH | GDHE-75 3** | 74 | 0.86
HTP | PH76-50**** | 48 | 0.9
HTP | PH76-60**** | 58 | 0.88
HTP | PH76-80**** | 77 | 0.87
HTP | PH100-55**** | 53 | 0.89
HTP | PH100-80**** | 75 | 0.93
HTP | PH100-119**** | 112 | 0.9
RICHMOND | 12GUH75-100FP | 75 | 0.88
RICHMOND | 12GUH75-100FN | 75 | 0.88
RUUD | PROUG75-100P RU HE EC3 | 75 | 0.88
RUUD | PROUG75-100U RU HE EC3 | 75 | 0.88
RHEEM | XP75T12UHC100U0 | 75 | 0.88
RHEEM | XG75T12UHN100U0 | 75 | 0.88
RHEEM | PROPG75-100P RH HE EC3 | 75 | 0.88
RHEEM | PROPG75-100U RH HE EC3 | 75 | 0.88
RHEEM | PROP G50-100* CN HE EC3 | 50 | 0.89
RHEEM | GHE50S*-76** | 50 | 0.89
RHEEM | GHE50S*-76 | 50 | 0.89
RICHMOND | 12GUH50-76F* | 50 | 0.89
RUUD | PROU G50-76* RU HE EC3 | 50 | 0.89
RHEEM | ECE G50-76U CN HE EC3 | 50 | 0.89
RHEEM | XP50T12UHC76U0 | 50 | 0.89
RHEEM | GHE50S*-100** | 50 | 0.89
RHEEM | GHE50S*-100 | 50 | 0.89
RHEEM | XG50T12UHN76*0 | 50 | 0.89
RICHMOND | 12GUH50-100F* | 50 | 0.89
RHEEM | PROP G50-76* CN HE EC3 | 50 | 0.89
RHEEM | PROP G50-100* RH HE EC3 | 50 | 0.89
RUUD | PROU G50-100* RU HE EC3 | 50 | 0.89
RHEEM | ECE G50-100U CN HE EC3 | 50 | 0.89
RHEEM | PROP G50-76* RH HE EC3 | 50 | 0.89
RHEEM | XP50T12UHC100U0 | 50 | 0.89
RHEEM | XG50T12UHN100*0 | 50 | 0.89
HTP | PH100-119**** | 112 | 0.9
HTP | PH100-80**** | 75 | 0.93
HTP | PH100-55**** | 53 | 0.89
HTP | PH76-80**** | 77 | 0.87
HTP | PH76-60**** | 58 | 0.88
HTP | PH76-50**** | 48 | 0.9

## Gas-Fired Tankless
Data current as of 05-09-2024
The data provided are the representations submitted to DOE by manufacturers and their third party representatives. DOE makes no representations or warranties regarding the accuracy of the data.
Brand | Model Number | Uniform Energy Factor (UEF)
RINNAI | (RU160I) REU-N2530FF-US | 0.95
RINNAI | CU160E (REU-N2530WC-US) | 0.95
RINNAI | (RU199I) REU-N3237FF-US | 0.95
RINNAI | (RU160E) REU-N2530W-US | 0.95
RINNAI | CU199I (REU-N3237FFC-US) | 0.95
RINNAI | (RU180E) REU-N2934W-US | 0.95
RINNAI | (RU199E) REU-N3237W-US | 0.95
RINNAI | CU160I (REU-N2530FFC-US) | 0.95
RINNAI | (RU180I) REU-N2934FF-US | 0.95
RINNAI | CU199E (REU-N3237WC-US) | 0.95
RINNAI | RSC160IN | 0.95
RINNAI | RSC160EN | 0.95
RINNAI | RSC199EN | 0.95
RINNAI | RSC199IN | 0.95
RINNAI | RSC160IP | 0.95
RINNAI | RSC160EP | 0.95
RINNAI | RSC199EP | 0.95
RINNAI | RSC199IP | 0.95
RINNAI | (RX199I) REU-NB3237FF-US | 0.98
RINNAI | (RX180I) REU-NB2934FF-US | 0.98
RINNAI | (RX160I) REU-NB2530FF-US | 0.97
RINNAI | (RX130I) REU-NB2024FF-US | 0.97
RINNAI | (RXP199I) REU-NBP3237FF-US | 0.98
RINNAI | (CX199I) REU-NB3237FFC-US | 0.98
RINNAI | (CXP199I) REU-NBP3237FFC-US | 0.98
RINNAI | (RXP160I) REU-NBP2530FF-US | 0.97
RINNAI | (CX160I) REU-NB2530FFC-US | 0.97
RINNAI | (CXP160I) REU-NBP2530FFC-US | 0.97
BRADFORD WHITE | RTGL 199N1 | 0.95
BRADFORD WHITE | RTGL 160N1 | 0.95
BRADFORD WHITE | RTG-K-199N2 | 0.95
BRADFORD WHITE | RTG-K-160N1 | 0.95
BRADFORD WHITE | RTG-K-160N2 | 0.95
BRADFORD WHITE | RTG-K-199N1 | 0.95
BOSCH | T9900I SE 199 | 0.95
BOSCH | T9900 SE 199 | 0.95
BOSCH | T9800 SEO 199 | 0.95
BOSCH | T9800 SE 199 | 0.95
BOSCH | T9900 SE 160 | 0.95
BOSCH | T9800 SEO 160 | 0.95
BOSCH | T9800 SE 160 | 0.95
VESTA | VRP-199 | 0.95
VESTA | VRS-150 | 0.95
VESTA | VRS-199 | 0.95
VESTA | VRP-150 | 0.95
VESTA | VHP-199 | 0.95
VESTA | VRS PLUS-199 | 0.96
VESTA | VRS PLUS-150 | 0.96
VESTA | VRP PLUS-199 | 0.95
VESTA | VRP-PLUS-150 | 0.95
NORITZ | EZ111DV (GQ-C3259WX-FF US) | 0.96
NORITZ | EZ98DV (GQ-C2859WX-FF US) | 0.96
NORITZ | NCC199CDV (GQ-C3259WZ-FF US) | 0.96
NORITZ | EZ111DV (GQ-C3260WX-FF US) | 0.96
NORITZ | NCC199CDV (GQ-C3260WZ-FF US) | 0.96
NORITZ | NRCR92DV (GQ-C2660WXQ-FF US) | 0.95
NORITZ | EZ98DV (GQ-C2860WX-FF US) | 0.96
NORITZ | NRCR111DV (GQ-C3260WXQ-FF US) | 0.96
NAVIEN | NPE-210A2 | 0.95
NAVIEN | NPE-180A2 | 0.95
NAVIEN | NPE-240A2 | 0.95
NAVIEN | NPE-180S2 | 0.96
NAVIEN | NPE-210S2 | 0.96
NAVIEN | NPE-240S2 | 0.96
RHEEM | RTGH-S11I | 0.96
RHEEM | RTGH-S10I | 0.96
RUUD | RUTGH-S84I | 0.96
RUUD | RUTGH-SR84I | 0.96
RHEEM | RECTGH-S84IN | 0.96
RHEEM | RECTGH-SR84IN | 0.96
RHEEM | RECTGH-S84IP | 0.96
RHEEM | RECTGH-SR84IP | 0.96
RICHMOND | RMTGHS84IN | 0.96
RICHMOND | RMTGHSR84IN | 0.96
RICHMOND | RMTGHS84IP | 0.96
RICHMOND | RMTGHSR84IP | 0.96
RHEEM | ECOHS160IN | 0.96
RHEEM | ECOHSR160IN | 0.96
RHEEM | ECOHS160IP | 0.96
RHEEM | ECOHSR160IP | 0.96
RHEEM | CRTGH-S84I | 0.96
RHEEM | CRTGH-SR84I | 0.96
RHEEM | CECOHS160IN | 0.96
RHEEM | CECOHSR160IN | 0.96
RHEEM | CECOHS160IP | 0.96
RHEEM | CECOHSR160IP | 0.96
RHEEM | ECERTGH-S84I | 0.96
RHEEM | ECERTGH-SR84I | 0.96
RHEEM | RTGH-SR10I | 0.96
RUUD | RUTGH-S10I | 0.96
RUUD | RUTGH-SR10I | 0.96
RHEEM | RECTGH-S10IN | 0.96
RHEEM | RECTGH-SR10IN | 0.96
RHEEM | RECTGH-S10IP | 0.96
RHEEM | RECTGH-SR10IP | 0.96
RICHMOND | RMTGHS10IN | 0.96
RICHMOND | RMTGHSR10IN | 0.96
RICHMOND | RMTGHS10IP | 0.96
RICHMOND | RMTGHSR10IP | 0.96
RHEEM | ECOHS180IN | 0.96
RHEEM | ECOHSR180IN | 0.96
RHEEM | ECOHS180IP | 0.96
RHEEM | ECOHSR180IP | 0.96
RHEEM | CRTGH-S10I | 0.96
RHEEM | CRTGH-SR10I | 0.96
RHEEM | CECOHS180IN | 0.96
RHEEM | CECOHSR180IN | 0.96
RHEEM | CECOHS180IP | 0.96
RHEEM | CECOHSR180IP | 0.96
RHEEM | ECERTGH-S10I | 0.96
RHEEM | ECERTGH-SR10I | 0.96
RHEEM | RTGH-SR11I | 0.96
RUUD | RUTGH-S11I | 0.96
RUUD | RUTGH-SR11I | 0.96
RHEEM | RECTGH-S11IN | 0.96
RHEEM | RECTGH-SR11IN | 0.96
RHEEM | RECTGH-S11IP | 0.96
RHEEM | RECTGH-SR11IP | 0.96
RICHMOND | RMTGHS11IN | 0.96
RICHMOND | RMTGHSR11IN | 0.96
RICHMOND | RMTGHS11IP | 0.96
RICHMOND | RMTGHSR11IP | 0.96
RHEEM | ECOHS200IN | 0.96
RHEEM | ECOHSR200IN | 0.96
RHEEM | ECOHS200IP | 0.96
RHEEM | ECOHSR200IP | 0.96
RHEEM | CRTGH-S11I | 0.96
RHEEM | CRTGH-SR11I | 0.96
RUUD | CRUTGH-S11I | 0.96
RUUD | CRUTGH-SR11I | 0.96
RHEEM | CECOHS200IN | 0.96
RHEEM | CECOHSR200IN | 0.96
RHEEM | CECOHS200IP | 0.96
RHEEM | CECOHSR200IP | 0.96
RHEEM | ECERTGH-S11I | 0.96
RHEEM | ECERTGH-SR11I | 0.96
BRADFORD WHITE | RTGR199N1 | 0.95
BRADFORD WHITE | RTGS199N1 | 0.95
BRADFORD WHITE | RTGR199X1 | 0.95
BRADFORD WHITE | RTGS199X1 | 0.95
LAARS | LT199NXX1 | 0.95
LAARS | LT199NRX1 | 0.95
LAARS | LT199PXX1 | 0.95
LAARS | LT199PRX1 | 0.95
STATE | GTS-240-NEH 1** | 0.95
AMERICAN | GT-340-NIH 1** | 0.95
LOCHINVAR | LTI-340H-P 1*1 | 0.95
STATE | GTS-340-NIH 1** | 0.95
A. O. SMITH | ATO-540HX3-P 1*1 | 0.95
AMERICAN | GT-540X3-NEH 1** | 0.95
TAKAGI | TK-340X3-NIH 1** | 0.95
LOCHINVAR | LTI-340X3-N 1** | 0.95
JOHN WOOD | JTHR-199X3 1** | 0.95
A. O. SMITH | ATHR-180X3 1** | 0.95
STATE | STHR-160M 1** | 0.95
AMERICAN | MTHR-160X3 1** | 0.95
A. O. SMITH | ATO-240HX3-N 1** | 0.95
STATE | GTS-240X3-PEH 1*1 | 0.95
TAKAGI | TK-240X3-NEH 1** | 0.95
LOCHINVAR | LTO-540HX3-P 1*1 | 0.95
RELIANCE WATER HEATERS | TS-540X3-LEH 1*1 | 0.95
RELIANCE WATER HEATERS | TS-540X3-GEH 1** | 0.95
AMERICAN | GT-540X3-PEH 1*1 | 0.95
STATE | GTS-540X3-PEH 1*1 | 0.95
STATE | GTS-540X3-NEH 1** | 0.95
A. O. SMITH | ATO-540HX3-N 1** | 0.95
JOHN WOOD | JWT-340H-P 1*1 | 0.95
JOHN WOOD | JWT-340H-N 1** | 0.95
A. O. SMITH | ATHR-199M 1** | 0.95
STATE | STHR-199X3 1** | 0.95
GSW WATER HEATERS | GSWT-340H-P 1*1 | 0.95
AMERICAN | MTHR-180M 1** | 0.95
GSW WATER HEATERS | GSWT-340H-N 1** | 0.95
RELIANCE WATER HEATERS | RTHR-180X3 1** | 0.95
A. O. SMITH | GT15THR-180M 1** | 0.95
RELIANCE WATER HEATERS | RTHR-160X3 1** | 0.95
A. O. SMITH | GT15THR-160X3 1** | 0.95
GSW WATER HEATERS | GTHR-160M 1** | 0.95
TAKAGI | T-H3-OS-N 1** | 0.95
A. O. SMITH | ACT-199O-P 1*1 | 0.95
STATE | SCT-199O-N 1** | 0.95
STATE | SCT-199O-P 1*1 | 0.95
LOCHINVAR | LCT-199O-N 1** | 0.95
LOCHINVAR | LCT-199O-P 1*1 | 0.95
TAKAGI | TK-540X3-NEH 1** | 0.95
TAKAGI | TK-540X3-PEH 1*1 | 0.95
A. O. SMITH | ATHR-199X3 1** | 0.95
STATE | STHR-199M 1** | 0.95
AMERICAN | MTHR-199M 1** | 0.95
AMERICAN | MTHR-199X3 1** | 0.95
RELIANCE WATER HEATERS | RTHR-199M 1** | 0.95
RELIANCE WATER HEATERS | RTHR-199X3 1** | 0.95
LOCHINVAR | LTHR-199M 1** | 0.95
LOCHINVAR | LTHR-199X3 1** | 0.95
A. O. SMITH | GT15THR-199M 1** | 0.95
LOCHINVAR | LTO-540HX3-N 1** | 0.95
A. O. SMITH | GT15THR-199X3 1** | 0.95
JOHN WOOD | JTHR-199M 1** | 0.95
GSW WATER HEATERS | GTHR-199M 1** | 0.95
GSW WATER HEATERS | GTHR-199X3 1** | 0.95
A. O. SMITH | ATHR-180M 1** | 0.95
STATE | STHR-180M 1** | 0.95
STATE | STHR-180X3 1** | 0.95
AMERICAN | MTHR-180X3 1** | 0.95
RELIANCE WATER HEATERS | RTHR-180M 1** | 0.95
LOCHINVAR | LTHR-180M 1** | 0.95
LOCHINVAR | LTHR-180X3 1** | 0.95
A. O. SMITH | GT15THR-180X3 1** | 0.95
JOHN WOOD | JTHR-180M 1** | 0.95
JOHN WOOD | JTHR-180X3 1** | 0.95
GSW WATER HEATERS | GTHR-180M 1** | 0.95
GSW WATER HEATERS | GTHR-180X3 1** | 0.95
A. O. SMITH | ATHR-160M 1** | 0.95
A. O. SMITH | ATHR-160X3 1** | 0.95
STATE | STHR-160X3 1** | 0.95
AMERICAN | MTHR-160M 1** | 0.95
RELIANCE WATER HEATERS | RTHR-160M 1** | 0.95
LOCHINVAR | LTHR-160M 1** | 0.95
LOCHINVAR | LTHR-160X3 1** | 0.95
A. O. SMITH | GT15THR-160M 1** | 0.95
JOHN WOOD | JTHR-160M 1** | 0.95
JOHN WOOD | JTHR-160X3 1** | 0.95
GSW WATER HEATERS | GTHR-160X3 1** | 0.95
LOCHINVAR | LTO-240X3-N 1** | 0.95
LOCHINVAR | LTO-240X3-P 1*1 | 0.95
RELIANCE WATER HEATERS | TS-240X3-LEH 1*1 | 0.95
RELIANCE WATER HEATERS | TS-240X3-GEH 1** | 0.95
TAKAGI | TK-240X3-PEH 1*1 | 0.95
AMERICAN | GT-240X3-PEH 1*1 | 0.95
AMERICAN | GT-240X3-NEH 1** | 0.95
STATE | GTS-240X3-NEH 1** | 0.95
A. O. SMITH | ATO-240HX3-P 1*1 | 0.95
LOCHINVAR | LTI-340X3-P 1*1 | 0.95
RELIANCE WATER HEATERS | TS-340X3-LIH 1*1 | 0.95
RELIANCE WATER HEATERS | TS-340X3-GIH 1** | 0.95
TAKAGI | TK-340X3-PIH 1*1 | 0.95
AMERICAN | GT-340X3-PIH 1*1 | 0.95
AMERICAN | GT-340X3-NIH 1** | 0.95
STATE | GTS-340X3-PIH 1*1 | 0.95
STATE | GTS-340X3-NIH 1** | 0.95
A. O. SMITH | ATI-340HX3-P 1*1 | 0.95
TAKAGI | TK-540P-NEH 1** | 0.95
A. O. SMITH | ATI-340HX3-N 1** | 0.95
TAKAGI | TK-540P-PEH 1*1 | 0.95
RELIANCE WATER HEATERS | TS-540-LEH 1*1 | 0.95
AMERICAN | GT-540P-NEH 1** | 0.95
TAKAGI | T-H3J-OS-P 1*1 | 0.95
A. O. SMITH | GT15-240-NO 1** | 0.95
TAKAGI | T-H3J-OS-N 1** | 0.95
A. O. SMITH | ATO-240H 1** | 0.95
A. O. SMITH | ATO-240H 1*1 | 0.95
A. O. SMITH | GT15-240-PO 1*1 | 0.95
AMERICAN | GT-240-NEH 1** | 0.95
AMERICAN | GT-240-PEH 1*1 | 0.95
LOCHINVAR | LTO-240H-N 1** | 0.95
LOCHINVAR | LTO-240H-P 1*1 | 0.95
RELIANCE WATER HEATERS | TS-240-GEH 1** | 0.95
RELIANCE WATER HEATERS | TS-240-LEH 1*1 | 0.95
STATE | GTS-240-PEH 1*1 | 0.95
TAKAGI | T-H3S-DV-N 1** | 0.95
TAKAGI | T-H3S-DV-P 1*1 | 0.95
A. O. SMITH | GT15-340-NI 1** | 0.95
A. O. SMITH | GT15-340-PI 1*1 | 0.95
A. O. SMITH | ATI-340H 1** | 0.95
A. O. SMITH | ATI-340H 1*1 | 0.95
AMERICAN | GT-340-PIH 1*1 | 0.95
LOCHINVAR | LTI-340H-N 1** | 0.95
RELIANCE WATER HEATERS | TS-340-GIH 1** | 0.95
RELIANCE WATER HEATERS | TS-340-LIH 1*1 | 0.95
STATE | GTS-340-PIH 1*1 | 0.95
TAKAGI | TCT-199O-N 1** | 0.95
TAKAGI | T-H3-OS-P 1*1 | 0.95
TAKAGI | TCT-199O-P 1*1 | 0.95
A. O. SMITH | ATO-540H 1** | 0.95
A. O. SMITH | ATO-540P-N 1** | 0.95
A. O. SMITH | ACT-199O-N 1** | 0.95
A. O. SMITH | GT15-540-NO 1** | 0.95
A. O. SMITH | ATO-540H 1*1 | 0.95
A. O. SMITH | ATO-540P-P 1*1 | 0.95
STATE | GTS-540-NEH 1** | 0.95
STATE | GTS-540P-NEH 1** | 0.95
STATE | GTS-540-PEH 1*1 | 0.95
STATE | GTS-540P-PEH 1*1 | 0.95
RELIANCE WATER HEATERS | TS-540-GEH 1** | 0.95
RELIANCE WATER HEATERS | TS-540P-GEH 1** | 0.95
RELIANCE WATER HEATERS | TS-540P-LEH 1*1 | 0.95
AMERICAN | GT-540-NEH 1** | 0.95
AMERICAN | MCT-199O-N 1** | 0.95
AMERICAN | GT-540-PEH 1*1 | 0.95
AMERICAN | GT-540P-PEH 1*1 | 0.95
AMERICAN | MCT-199O-P 1*1 | 0.95
LOCHINVAR | LTO-540H-N 1** | 0.95
LOCHINVAR | LTO-540P-N 1** | 0.95
LOCHINVAR | LTO-540H-P 1*1 | 0.95
LOCHINVAR | LTO-540P-P 1*1 | 0.95
MRCOOL | MHWH199NCLU | 0.96