## 240V Integrated HPWH
Data current as of 09-11-2024
The data provided are the representations submitted to DOE by manufacturers and their third party representatives. DOE makes no representations or warranties regarding the accuracy of the data.
Brand | Model Number | Rated Storage Volume (gal) | Uniform Energy Factor (UEF)
Bosch | TR7000T - 50US | 47 | 3.75
Bosch | TR7000T - 80US | 74 | 4
Midea | CAN3-RSJ-15/300RDVN3-L3 | 74 | 4
Midea | MCHW-80VN3A | 74 | 4
ACIQ | ACIQ-80G-HP-WH | 74 | 4
STEALTH | ACIQ-80G-HP-WH | 74 | 4
PolarWave | ACIQ-80G-HP-WH | 74 | 4
1HVAC | ACIQ-80G-HP-WH | 74 | 4
DIYCOOL | ACIQ-80G-HP-WH | 74 | 4
Midea | US3-RSJ-15/300RDVN3-L3 | 74 | 4
Midea | MAHW-80VN3A | 74 | 4
Midea | CAN3-RSJ-15/250RDVN3-L3 | 60 | 3.9
ACIQ | ACIQ-50G-HP-WH | 47 | 3.75
STEALTH | ACIQ-50G-HP-WH | 47 | 3.75
PolarWave | ACIQ-50G-HP-WH | 47 | 3.75
1HVAC | ACIQ-50G-HP-WH | 47 | 3.75
DIYCOOL | ACIQ-50G-HP-WH | 47 | 3.75
Midea | MCHW-50VN3A | 47 | 3.75
Midea | CAN3-RSJ-15/190RDVN3-L3 | 47 | 3.75
Midea | CAN3-RSJ-15/190RDVN3-L3 | 46 | 3.75
Midea | CAN3-RSJ-15/300RDVN3-L3 | 74 | 4
RICHMOND | 10E40-HP5U30 | 36 | 3.83
RICHMOND | 10E40-HP5US30 | 36 | 3.83
RHEEM | PROPH40 T2 RH400-30 | 36 | 3.83
RHEEM | PROPH40 T2 RH400-SO | 36 | 3.83
RUUD | PROUH40 T2 RU400-30 | 36 | 3.83
RUUD | PROUH40 T2 RU400-SO | 36 | 3.83
RHEEM | XE40T10H45U1 | 36 | 3.83
RHEEM | XE40T10HS45U1 | 36 | 3.83
RHEEM | CPROPH40 T2 RH400-30 | 36 | 3.83
RHEEM | CPROPH40 T2 RH400-SO | 36 | 3.83
RHEEM | CXE40T10H45U1 | 36 | 3.83
RHEEM | CXE40T10HS45U1 | 36 | 3.83
RHEEM | ECEPH40 T2 RH400-30 | 36 | 3.83
RHEEM | ECEPH40 T2 RH400-SO | 36 | 3.83
FRIEDRICH | PROH40 T2 FD400-SO | 36 | 3.83
FRIEDRICH | PROH40 T2 FD400-30 | 36 | 3.83
RICHMOND | 10E40-HP5U15 | 36 | 3.45
FRIEDRICH | PROH50 T2 FD400-SO | 45 | 3.88
FRIEDRICH | PROH50 T2 FD400-30 | 45 | 3.88
FRIEDRICH | PROH50 T2 FD400-15 | 45 | 3.75
FRIEDRICH | PROPH40 T2 FD400-15 | 36 | 3.45
RICHMOND | 10E80-HP5U15 | 72 | 3.7
RHEEM | PROPH80 T2 RH400-15 | 72 | 3.7
RUUD | PROUH80 T2 RU400-15 | 72 | 3.7
RHEEM | XE80T10H22U1 | 72 | 3.7
FRIEDRICH | PROH80 T2 FD400-15 | 72 | 3.7
RHEEM | CPROPH80 T2 RH400-15 | 72 | 3.7
RHEEM | CXE80T10H22U1 | 72 | 3.7
RHEEM | ECEPH80 T2 RH400-15 | 72 | 3.7
RICHMOND | 10E80-HP5U30 | 72 | 4.07
RICHMOND | 10E80-HP5US30 | 72 | 4.07
RHEEM | PROPH80 T2 RH400-30 | 72 | 4.07
RHEEM | PROPH80 T2 RH400-SO | 72 | 4.07
RUUD | PROUH80 T2 RU400-30 | 72 | 4.07
RUUD | PROUH80 T2 RU400-SO | 72 | 4.07
RHEEM | XE80T10H45U1 | 72 | 4.07
RHEEM | XE80T10HS45U1 | 72 | 4.07
FRIEDRICH | PROH80 T2 FD400-30 | 72 | 4.07
FRIEDRICH | PROH80 T2 FD400-SO | 72 | 4.07
RHEEM | CPROPH80 T2 RH400-30 | 72 | 4.07
RHEEM | CPROPH80 T2 RH400-SO | 72 | 4.07
RHEEM | CXE80T10H45U1 | 72 | 4.07
RHEEM | ECEPH80 T2 RH400-SO | 72 | 4.07
RHEEM | CXE80T10HS45U1 | 72 | 4.07
RHEEM | ECEPH80 T2 RH400-30 | 72 | 4.07
RHEEM | ECEPH65 T2 RH400-SO | 59 | 4.05
RHEEM | ECEPH65 T2 RH400-30 | 59 | 4.05
RHEEM | CXE65T10HS45U1 | 59 | 4.05
RHEEM | CXE65T10H45U1 | 59 | 4.05
RHEEM | CPROPH65 T2 RH400-SO | 59 | 4.05
RHEEM | CPROPH65 T2 RH400-30 | 59 | 4.05
FRIEDRICH | PROH65 T2 FD400-SO | 59 | 4.05
FRIEDRICH | PROH65 T2 FD400-30 | 59 | 4.05
RHEEM | XE65T10HS45U1 | 59 | 4.05
RHEEM | XE65T10H45U1 | 59 | 4.05
RUUD | PROUH65 T2 RU400-SO | 59 | 4.05
RUUD | PROUH65 T2 RU400-30 | 59 | 4.05
RHEEM | PROPH65 T2 RH400-SO | 59 | 4.05
RHEEM | PROPH65 T2 RH400-30 | 59 | 4.05
RICHMOND | 10E65-HP5US30 | 59 | 4.05
RICHMOND | 10E65-HP5U30 | 59 | 4.05
RHEEM | CXE65T10H22U1 | 59 | 3.55
RHEEM | CPROPH65 T2 RH400-15 | 59 | 3.55
FRIEDRICH | PROH65 T2 FD400-15 | 59 | 3.55
RICHMOND | XE65T10H22U1 | 59 | 3.55
RUUD | PROUH65 T2 RU400-15 | 59 | 3.55
RHEEM | PROPH65 T2 RH400-15 | 59 | 3.55
RICHMOND | 10E65-HP5U15 | 59 | 3.55
Midea | MCHW-50VN3A | 47 | 3.75
Midea | MCHW-80VN3A | 75 | 4
RICHMOND | 10E50-HP5U15 | 45 | 3.75
RHEEM | PROPH50 T2 RH400-15 | 45 | 3.75
RUUD | PROUH50 T2 RU400-15 | 45 | 3.75
RHEEM | XE50T10H22U1 | 45 | 3.75
RHEEM | CPROPH50 T2 RH400-15 | 45 | 3.75
RHEEM | CXE50T10H22U1 | 45 | 3.75
RHEEM | ECEPH50 T2 RH400-15 | 45 | 3.75
RICHMOND | 10E50-HP5U30 | 45 | 3.88
RICHMOND | 10E50-HP5US30 | 45 | 3.88
RHEEM | PROPH50 T2 RH400-30 | 45 | 3.88
RHEEM | PROPH50 T2 RH400-SO | 45 | 3.88
RUUD | PROUH50 T2 RU400-30 | 45 | 3.88
RUUD | PROUH50 T2 RU400-SO | 45 | 3.88
RHEEM | XE50T10H45U1 | 45 | 3.88
RHEEM | XE50T10HS45U1 | 45 | 3.88
RHEEM | CPROPH50 T2 RH400-30 | 45 | 3.88
RHEEM | CPROPH50 T2 RH400-SO | 45 | 3.88
RHEEM | CXE50T10H45U1 | 45 | 3.88
RHEEM | CXE50T10HS45U1 | 45 | 3.88
RHEEM | ECEPH50 T2 RH400-30 | 45 | 3.88
RHEEM | ECEPH50 T2 RH400-SO | 45 | 3.88
RICHMOND | 10E40-HP5U15 | 36 | 3.45
RHEEM | PROPH40 T2 RH400-15 | 36 | 3.45
RUUD | PROUH40 T2 RU400-15 | 36 | 3.45
RHEEM | XE40T10H22U1 | 36 | 3.45
RHEEM | CPROPH40 T2 RH400-15 | 36 | 3.45
RHEEM | CXE40T10H22U1 | 36 | 3.45
RHEEM | ECEPH40 T2 RH400-15 | 36 | 3.45
Midea | MAHW-50VN3A | 47 | 3.75
Midea | US3-RSJ-15/190RDVN3-L3 | 47 | 3.75
BOSCH | TR7000T-80CA | 74 | 4.1
BOSCH | TR7000T-80US | 74 | 4.1
FRIEDRICH | PRO H80 T2 FD310BM | 72 | 3.5
FRIEDRICH | PRO H80 T2 FD310UM | 72 | 3.5
FRIEDRICH | PRO H65 T2 FD375-SO | 59 | 4.05
FRIEDRICH | PRO H65 T2 FD375-30 | 59 | 4.05
FRIEDRICH | PRO H65 T2 FD310UM | 59 | 3.5
FRIEDRICH | PRO H65 T2 FD310BM | 59 | 3.5
FRIEDRICH | PRO H50 T2 FD310UM | 45 | 3.5
FRIEDRICH | PRO H50 T2 FD375-SO | 45 | 3.88
FRIEDRICH | PRO H50 T2 FD375-30 | 45 | 3.88
FRIEDRICH | PRO H50 T2 FD310BM | 45 | 3.5
FRIEDRICH | PRO H40 T2 FD310UM | 36 | 3.5
FRIEDRICH | PRO H40 T2 FD310BM | 36 | 3.5
RINNAI | REHP50C | 46 | 3.75
RINNAI | REHP80C | 75 | 4
RINNAI | REHP50 | 46 | 3.75
RINNAI | REHP80 | 75 | 4
BOSCH | TR7000T-50CA | 46 | 3.85
BOSCH | TR7000T-50US | 46 | 3.85
RINNAI | REHP80BM | 75 | 4
RINNAI | REHP50BM | 46 | 3.75
LG | APHWC501M | 53 | 3.93
LG | APHWC801M | 72 | 3.9
LG | APHWC501D | 53 | 3.93
LG | APHWC501L | 53 | 3.93
LG | APHWC801D | 72 | 3.9
LG | APHWC801L | 72 | 3.9
LG | APHWC502M | 53 | 3.93
RUUD | CPROPH80 T2 CD375-SO | 72 | 4.07
RUUD | CPROPH80 T2 CD375-30 | 72 | 4.07
RICHMOND | 10CE50-HP5S30 | 45 | 3.88
RICHMOND | 10CE65-HP5S30 | 59 | 4.05
RICHMOND | 10CE80-HP5S30 | 72 | 4.07
RHEEM | PRO H65 T2 RH310BM | 59 | 3.5
RHEEM | PROPH50 T2 RH375-SO | 45 | 3.88
RHEEM | PROPH65 T2 RH375-SO | 59 | 4.05
RHEEM | PRO H40 T2 RH310BM | 36 | 3.5
RHEEM | PRO H50 T2 RH310BM | 45 | 3.5
RHEEM | PRO H80 T2 RH310BM | 72 | 3.5
RHEEM | PROPH40 T2 RH375-SO | 36 | 3.83
RHEEM | PROPH80 T2 RH375-SO | 72 | 4.07
RHEEM | PROPH40 T2 RH375-15 | 36 | 3.45
RHEEM | PROPH50 T2 RH375-15 | 45 | 3.75
RHEEM | PROPH65 T2 RH375-15 | 59 | 3.55
RHEEM | PROPH80 T2 RH375-15 | 72 | 3.7
RUUD | PRO H40 T2 RU310BM | 36 | 3.5
RUUD | PRO H50 T2 RU310BM | 45 | 3.5
RUUD | PRO H65 T2 RU310BM | 59 | 3.5
RUUD | PRO H80 T2 RU310BM | 72 | 3.5
RHEEM | XE40T10HS45U0 | 36 | 3.83
RHEEM | XE40T10H45U0 | 36 | 3.83
RHEEM | PROPH40 T2 RH375-30 | 36 | 3.83
RHEEM | XE50T10HS45U0 | 45 | 3.88
RHEEM | XE50T10H45U0 | 45 | 3.88
RHEEM | PROPH50 T2 RH375-30 | 45 | 3.88
RHEEM | XE65T10HS45U0 | 59 | 4.05
RHEEM | XE65T10H45U0 | 59 | 4.05
RHEEM | PROPH65 T2 RH375-30 | 59 | 4.05
RHEEM | XE80T10HS45U0 | 72 | 4.07
RHEEM | XE80T10H45U0 | 72 | 4.07
RHEEM | PROPH80 T2 RH375-30 | 72 | 4.07
RHEEM | XE40T10H22U0 | 36 | 3.45
RHEEM | XE50T10H22U0 | 45 | 3.75
RHEEM | XE65T10H22U0 | 59 | 3.55
RHEEM | XE80T10H22U0 | 72 | 3.7
RUUD | PROUH40 T2 RU375-SO | 36 | 3.83
RUUD | PROUH40 T2 RU375-30 | 36 | 3.83
RICHMOND | 10E40-HP5S30 | 36 | 3.83
RICHMOND | 10E40-HP530 | 36 | 3.83
RUUD | PROUH50 T2 RU375-SO | 45 | 3.88
RUUD | PROUH50 T2 RU375-30 | 45 | 3.88
RICHMOND | 10E50-HP5S30 | 45 | 3.88
RICHMOND | 10E50-HP530 | 45 | 3.88
RUUD | PROUH65 T2 RU375-SO | 59 | 4.05
RUUD | PROUH65 T2 RU375-30 | 59 | 4.05
RICHMOND | 10E65-HP5S30 | 59 | 4.05
RICHMOND | 10E65-HP530 | 59 | 4.05
RUUD | PROUH80 T2 RU375-SO | 72 | 4.07
RUUD | PROUH80 T2 RU375-30 | 72 | 4.07
RICHMOND | 10E80-HP5S30 | 72 | 4.07
RICHMOND | 10E80-HP530 | 72 | 4.07
RUUD | PROUH40 T2 RU375-15 | 36 | 3.45
RICHMOND | 10E40-HP515 | 36 | 3.45
RUUD | PROUH50 T2 RU375-15 | 45 | 3.75
RICHMOND | 10E50-HP515 | 45 | 3.75
RUUD | PROUH65 T2 RU375-15 | 59 | 3.55
RICHMOND | 10E65-HP515 | 59 | 3.55
RUUD | PROUH80 T2 RU375-15 | 72 | 3.7
RICHMOND | 10E80-HP515 | 72 | 3.7
RHEEM | PRO H40 T2 RH310UM | 36 | 3.5
RUUD | PRO H40 T2 RU310UM | 36 | 3.5
RHEEM | PRO H50 T2 RH310UM | 45 | 3.5
RUUD | PRO H50 T2 RU310UM | 45 | 3.5
RHEEM | PRO H65 T2 RH310UM | 59 | 3.5
RUUD | PRO H65 T2 RU310UM | 59 | 3.5
RHEEM | PRO H80 T2 RH310UM | 72 | 3.5
RUUD | PRO H80 T2 RU310UM | 72 | 3.5
RHEEM | CXE80T10HS45UO | 72 | 4.07
RHEEM | CPROPH80 T2 RH375-SO | 72 | 4.07
RHEEM | ECEPH80 T2 RH375-SO | 72 | 4.07
RHEEM | CPROPH80 T2 RH375-30 | 72 | 4.07
RHEEM | ECEPH80 T2 RH375-30 | 72 | 4.07
RHEEM | CPRO H65 T2 RH310BM | 59 | 3.5
RHEEM | ECE H65 T2 RH310BM | 59 | 3.5
RHEEM | CXE65T10H22UO | 59 | 3.55
RHEEM | CPROPH65 T2 RH375-15 | 59 | 3.55
RHEEM | ECEPH65 T2 RH375-15 | 59 | 3.55
RHEEM | CXE65T10HS45UO | 59 | 4.05
RHEEM | CPROPH65 T2 RH375-SO | 59 | 4.05
RHEEM | ECEPH65 T2 RH375-SO | 59 | 4.05
RHEEM | CXE65T10H45UO | 59 | 4.05
RHEEM | CPROPH65 T2 RH375-30 | 59 | 4.05
RHEEM | ECEPH65 T2 RH375-30 | 59 | 4.05
RHEEM | CPRO H50 T2 RH310BM | 45 | 3.5
RHEEM | ECE H50 T2 RH310BM | 45 | 3.5
RHEEM | CXE50T10H22UO | 45 | 3.75
RHEEM | CPROPH50 T2 RH375-15 | 45 | 3.75
RHEEM | ECEPH50 T2 RH375-15 | 45 | 3.75
RHEEM | CXE50T10HS45UO | 45 | 3.88
RHEEM | CPROPH50 T2 RH375-SO | 45 | 3.88
RHEEM | ECEPH50 T2 RH375-SO | 45 | 3.88
RHEEM | CXE50T10H45UO | 45 | 3.88
RHEEM | CPROPH50 T2 RH375-30 | 45 | 3.88
RHEEM | ECEPH50 T2 RH375-30 | 45 | 3.88
RHEEM | CPRO H40 T2 RH310BM | 36 | 3.5
RHEEM | ECE H40 T2 RH310BM | 36 | 3.5
RHEEM | CXE40T10H22UO | 36 | 3.45
RHEEM | CPROPH40 T2 RH375-15 | 36 | 3.45
RHEEM | ECEPH40 T2 RH375-15 | 36 | 3.45
RHEEM | CXE40T10HS45UO | 36 | 3.83
RHEEM | CPROPH40 T2 RH375-SO | 36 | 3.83
RHEEM | ECEPH40 T2 RH375-SO | 36 | 3.83
RHEEM | CXE40T10H45UO | 36 | 3.83
RHEEM | CPROPH40 T2 RH375-30 | 36 | 3.83
RHEEM | ECEPH40 T2 RH375-30 | 36 | 3.83
RHEEM | CPRO H80 T2 RH310BM | 72 | 3.5
RHEEM | ECE H80 T2 RH310BM | 72 | 3.5
RHEEM | CXE80T10H22UO | 72 | 3.7
RHEEM | CPROPH80 T2 RH375-15 | 72 | 3.7
RHEEM | ECEPH80 T2 RH375-15 | 72 | 3.7
RHEEM | HPLD40-1RH | 36 | 3.83
RUUD | HPLD40-1RU | 36 | 3.83
RHEEM | HPLD50-1RH | 45 | 3.88
RUUD | HPLD50-1RU | 45 | 3.88
RUUD | HPLD65-1RU | 59 | 4.05
RHEEM | HPLD65-1RH | 59 | 4.05
RUUD | HPLD80-1RU | 72 | 4.07
RHEEM | HPLD80-1RH | 72 | 4.07
RHEEM | CXE80T10H45UO | 72 | 4.07
VAUGHN THERMAL | ME80HPT-CN | 74 | 3.48
VAUGHN THERMAL | ME120HPT-CN | 109 | 3.38
VAUGHN THERMAL | ME50HPT | 47 | 3.46
VAUGHN THERMAL | ME65HPT | 57 | 3.34
VAUGHN THERMAL | ME80HPT | 74 | 3.48
VAUGHN THERMAL | ME120HPT | 109 | 3.38
HUBBELL | ME50HPT | 47 | 3.46
HUBBELL | ME65HPT | 57 | 3.34
HUBBELL | ME80HPT | 74 | 3.48
HUBBELL | ME120HPT | 109 | 3.38
VAUGHN THERMAL | ME50HPT-CN | 47 | 3.46
VAUGHN THERMAL | ME65HPT-CN | 57 | 3.34
BRADFORD WHITE | RE2H80T*-***** | 75 | 3.59
BRADFORD WHITE | RE2H65T**-***** | 64 | 3.64
JETGLAS | RE2H50S*-***** | 45 | 3.44
JETGLAS | RE2H80T*-***** | 75 | 3.59
JETGLAS | RE2H65T**-***** | 64 | 3.64
BRADFORD WHITE | RE2H50S*-***** | 45 | 3.44
AMERICAN | HPHE10250H045DVCTA-1** | 46 | 3.45
A. O. SMITH | HP1080H45DVCTA-1** | 82 | 3.45
A. O. SMITH | HPS10-50H45DV 2** | 46 | 3.8
STATE | HPSX-66-DHPT 2** | 67 | 3.7
A. O. SMITH | HPS10-80H45DV 2** | 82 | 3.88
A. O. SMITH | HPTA-50 2** | 46 | 3.68
LOCHINVAR | HPPA040KD 2** | 36 | 3.6
LOCHINVAR | HPPA080KD 2** | 81 | 3.88
AMERICAN | HPS10280H045DV 2** | 82 | 3.88
RELIANCE WATER HEATERS | 10-66-DHPTS 2** | 67 | 3.7
STATE | HPAX-50-DHPT 2** | 46 | 3.68
RELIANCE WATER HEATERS | 10-50-DHPTA 2** | 46 | 3.68
A. O. SMITH | HPTU-50N 1** | 46 | 3.45
AMERICAN | HPHE6250H045DV 1** | 46 | 3.35
AMERICAN | HPHE10250H045DVDR 1** | 46 | 3.45
STATE | HPX-50-DHPTCTA 1** | 46 | 3.45
A. O. SMITH | HPTU-80CTA 1** | 82 | 3.45
LOCHINVAR | HPA082KD 1** | 82 | 3.45
RELIANCE WATER HEATERS | 10-80-DHPHTCTA 1** | 82 | 3.45
LOCHINVAR | HPSA050KD 2** | 46 | 3.8
A. O. SMITH | HPS10-66H45DV 2** | 67 | 3.7
LOCHINVAR | HPSA065KD 2** | 67 | 3.7
LOCHINVAR | HPSA080KD 2** | 82 | 3.88
RELIANCE WATER HEATERS | 10-80-DHPTS 2** | 82 | 3.88
RELIANCE WATER HEATERS | 10-50-DHPTS 2** | 46 | 3.8
A. O. SMITH | HPTA-40 2** | 36 | 3.6
STATE | HPAX-40-DHPT 2** | 36 | 3.6
AMERICAN | HPA10240H045DV 2** | 36 | 3.6
A. O. SMITH | HPA10-40H45DV 2** | 36 | 3.6
RELIANCE WATER HEATERS | 10-40-DHPTA 2** | 36 | 3.6
AMERICAN | HPA10250H045DV 2** | 46 | 3.68
LOCHINVAR | HPPA050KD 2** | 46 | 3.68
A. O. SMITH | HPA10-50H45DV 2** | 46 | 3.68
A. O. SMITH | HPTA-66 2** | 68 | 3.84
STATE | HPAX-66-DHPT 2** | 68 | 3.84
AMERICAN | HPA10266H045DV 2** | 68 | 3.84
LOCHINVAR | HPPA065KD 2** | 68 | 3.84
A. O. SMITH | HPA10-66H45DV 2** | 68 | 3.84
RELIANCE WATER HEATERS | 10-66-DHPTA 2** | 68 | 3.84
A. O. SMITH | HPTA-80 2** | 81 | 3.88
STATE | HPAX-80-DHPT 2** | 81 | 3.88
AMERICAN | HPA10280H045DV 2** | 81 | 3.88
A. O. SMITH | HPA10-80H45DV 2** | 81 | 3.88
RELIANCE WATER HEATERS | 10-80-DHPTA 2** | 81 | 3.88
STATE | HPSX-80-DHPT 2** | 82 | 3.88
A. O. SMITH | HPTS-80 2** | 82 | 3.88
AMERICAN | HPS10266H045DV 2** | 67 | 3.7
A. O. SMITH | HPTS-66 2** | 67 | 3.7
AMERICAN | HPS10250H045DV 2** | 46 | 3.8
STATE | HPSX-50-DHPT 2** | 46 | 3.8
A. O. SMITH | HPTS-50 2** | 46 | 3.8
U.S. CRAFTMASTER | HPHE2F50HD045VU 1** | 46 | 3.35
STATE | HP6-66-DHPT 1** | 67 | 3.42
RELIANCE WATER HEATERS | 6-80-DHPHT 1** | 82 | 3.45
AMERICAN | HPHE10266H045DVN 1** | 67 | 3.45
RELIANCE WATER HEATERS | 10-66-DHPHTNE 1** | 67 | 3.45
U.S. CRAFTMASTER | HPHE2K80HD045VUN 1** | 82 | 3.45
A. O. SMITH | FPTU-50 1** | 46 | 3.35
A. O. SMITH | FPTU-66 1** | 67 | 3.42
A. O. SMITH | FPTU-80 1** | 82 | 3.45
A. O. SMITH | HPTU-66N 1** | 67 | 3.45
A. O. SMITH | HPTU-80N 1** | 82 | 3.45
RELIANCE WATER HEATERS | 6-50-DHPHT 1** | 46 | 3.35
STATE | HP6-50-DHPT 1** | 46 | 3.35
AMERICAN | HPHE6266H045DV 1** | 67 | 3.42
RELIANCE WATER HEATERS | 6-66-DHPHT 1** | 67 | 3.42
U.S. CRAFTMASTER | HPHE2F66HD045VU 1** | 67 | 3.42
AMERICAN | HPHE6280H045DV 1** | 82 | 3.45
STATE | HP6-80-DHPT 1** | 82 | 3.45
U.S. CRAFTMASTER | HPHE2F80HD045VU 1** | 82 | 3.45
A. O. SMITH | HP1050H45DV 1** | 46 | 3.45
A. O. SMITH | HPTU-50DR 1** | 46 | 3.45
A. O. SMITH | HPTU-50CTA 1** | 46 | 3.45
AMERICAN | HPHE10250H045DVN 1** | 46 | 3.45
LOCHINVAR | HPA052KD 1** | 46 | 3.45
RELIANCE WATER HEATERS | 10-50-DHPHTNE 1** | 46 | 3.45
RELIANCE WATER HEATERS | 10-50-DHPHTCTA 1** | 46 | 3.45
STATE | HPX-50-DHPTNE 1** | 46 | 3.45
U.S. CRAFTMASTER | HPHE2K50HD045VUN 1** | 46 | 3.45
A. O. SMITH | HPTU-66DR 1** | 67 | 3.45
A. O. SMITH | HPTU-66CTA 1** | 67 | 3.45
AMERICAN | HPHE10266H045DVDR 1** | 67 | 3.45
LOCHINVAR | HPA068KD 1** | 67 | 3.45
RELIANCE WATER HEATERS | 10-66-DHPHTCTA 1** | 67 | 3.45
STATE | HPX-66-DHPTNE 1** | 67 | 3.45
A. O. SMITH | HP1050H45DVCTA-1** | 46 | 3.45
STATE | HPX-66-DHPTDR 1** | 67 | 3.45
AMERICAN | HPHE10266H045DVCTA-1** | 67 | 3.45
STATE | HPX-66-DHPTCTA 1** | 67 | 3.45
AMERICAN | HPHE10280H045DVCTA-1** | 82 | 3.45
U.S. CRAFTMASTER | HPHE2K66HD045VUN 1** | 67 | 3.45
A. O. SMITH | HP1080H45DV 1** | 82 | 3.45
A. O. SMITH | HPTU-80DR 1** | 82 | 3.45
AMERICAN | HPHE10280H045DVN 1** | 82 | 3.45
AMERICAN | HPHE10280H045DVDR 1** | 82 | 3.45
RELIANCE WATER HEATERS | 10-80-DHPHTNE 1** | 82 | 3.45
STATE | HPX-80-DHPTNE 1** | 82 | 3.45
STATE | HPX-80-DHPTDR 1** | 82 | 3.45
STATE | HPX-80-DHPTCTA 1** | 82 | 3.45
AMERICAN STANDARD WATER HEATERS | ASHPWH-40-B | 37 | 3.4
AMERICAN STANDARD WATER HEATERS | ASHPWH-50-B | 46 | 3.49
AMERICAN STANDARD WATER HEATERS | ASHPWH-65-B | 62 | 3.68
AMERICAN STANDARD WATER HEATERS | ASHPWH-80-B | 73 | 3.83
AMERICAN STANDARD WATER HEATERS | ASHPWH-40***** | 37 | 3.58
AMERICAN STANDARD WATER HEATERS | ASHPWH-65***** | 62 | 3.85
AMERICAN STANDARD WATER HEATERS | ASHPWH-80***** | 73 | 4.01
AMERICAN STANDARD WATER HEATERS | ASHPWH-50***** | 45 | 3.75
LG | APHWC501D | 53 | 3.93
LG | APHWC501L | 53 | 3.93
LG | APHWC801D | 72 | 3.9
LG | APHWC801L | 72 | 3.9

## 120V Integrated HPWH
Data current as of 09-11-2024
The data provided are the representations submitted to DOE by manufacturers and their third party representatives. DOE makes no representations or warranties regarding the accuracy of the data.
Brand | Model Number | Rated Storage Volume (gal) | Uniform Energy Factor (UEF)
FRIEDRICH | PRO H50 T0 FD120-MSO | 46 | 3
FRIEDRICH | PRO H50 T0 FD120-M | 46 | 3
RICHMOND | 10E50-HP120MS | 46 | 3
RICHMOND | 10E50-HP120M | 46 | 3
RUUD | PROUH50 T0 RU120-MSO | 46 | 3
RUUD | PROUH50 T0 RU120-M | 46 | 3
RHEEM | XE50T10HMS00U0 | 46 | 3
RHEEM | XE50T10HM00U0 | 46 | 3
RHEEM | PROPH50 T0 RH120-MSO | 46 | 3
RHEEM | PROPH50 T0 RH120-M | 46 | 3
RHEEM | PROPH65 T0 RH120-M | 59 | 3.33
RHEEM | PROPH65 T0 RH120-MSO | 59 | 3.33
RHEEM | XE65T10HM00U0 | 59 | 3.33
RHEEM | XE65T10HMS00U0 | 59 | 3.33
RUUD | PROUH65 T0 RU120-M | 59 | 3.33
RICHMOND | 10E65-HP120M | 59 | 3.33
RUUD | PROUH65 T0 RU120-MSO | 59 | 3.33
FRIEDRICH | PRO H65 T0 FD120-M | 59 | 3.33
RICHMOND | 10E65-HP120MS | 59 | 3.33
RHEEM | PROPH80 T0 RH120-MSO | 72 | 3.46
FRIEDRICH | PRO H65 T0 FD120-MSO | 59 | 3.33
RHEEM | XE80T10HM00U0 | 72 | 3.46
RHEEM | XE80T10HMS00U0 | 72 | 3.46
RUUD | PROUH80 T0 RU120-MSO | 72 | 3.46
RUUD | PROUH80 T0 RU120-M | 72 | 3.46
RICHMOND | 10E80-HP120M | 72 | 3.46
FRIEDRICH | PRO H80 T0 FD120-M | 72 | 3.46
RICHMOND | 10E80-HP120MS | 72 | 3.46
FRIEDRICH | PRO H80 T0 FD120-MSO | 72 | 3.46
RHEEM | PROPH80 T0 RH120-M | 72 | 3.46
FRIEDRICH | PRO H50 T0 FD120 | 46 | 3
FRIEDRICH | PRO H40 T0 FD120 | 37 | 3
FRIEDRICH | PRO H50 T0 FD120-MSO | 46 | 3
FRIEDRICH | PRO H50 T0 FD120-M | 46 | 3
RICHMOND | 10E50-HP120MS | 46 | 3
RICHMOND | 10E50-HP120M | 46 | 3
RUUD | PROUH50 T0 RU120-MSO | 46 | 3
RUUD | PROUH50 T0 RU120-M | 46 | 3
RHEEM | XE50T10HMS00U0 | 46 | 3
RHEEM | XE50T10HM00U0 | 46 | 3
RHEEM | PROPH50 T0 RH120-MSO | 46 | 3
RHEEM | PROPH50 T0 RH120-M | 46 | 3
FRIEDRICH | PRO H40 T0 FD120-MSO | 36 | 2.8
FRIEDRICH | PRO H40 T0 FD120-M | 36 | 2.8
RICHMOND | 10E40-HP120MS | 36 | 2.8
RICHMOND | 10E40-HP120M | 36 | 2.8
RUUD | PROUH40 T0 RU120-MSO | 36 | 2.8
RUUD | PROUH40 T0 RU120-M | 36 | 2.8
RHEEM | XE40T10HMS00U0 | 36 | 2.8
RHEEM | XE40T10HM00U0 | 36 | 2.8
RHEEM | PROPH40 T0 RH120-MSO | 36 | 2.8
RHEEM | PROPH40 T0 RH120-M | 36 | 2.8
RHEEM | PROPH40 T0 RH120 | 37 | 3
RHEEM | XE40T10H15U0 | 37 | 3
RUUD | PROUH40 T0 RU120 | 37 | 3
RICHMOND | 10E40-HP120 | 37 | 3
RHEEM | PROPH50 T0 RH120 | 46 | 3
RHEEM | XE50T10H15U0 | 46 | 3
RUUD | PROUH50 T0 RU120 | 46 | 3
RICHMOND | 10E50-HP120 | 46 | 3
A. O. SMITH | HPV10-50H01DV 2** | 46 | 3
LOCHINVAR | HPV050KD 2** | 46 | 3
A. O. SMITH | HPTV-80 2** | 82 | 3
A. O. SMITH | HPV10-66H01DV 2** | 68 | 3.2
A. O. SMITH | HPTV-66 2** | 68 | 3.2
STATE | HPVX-66-DHPT 2** | 68 | 3.2
AMERICAN | HPV10266H009DV 2** | 68 | 3.2
LOCHINVAR | HPV065KD 2** | 68 | 3.2
STATE | HPVX-80-DHPT 2** | 82 | 3
AMERICAN | HPV10280H009DV 2** | 82 | 3
LOCHINVAR | HPV080KD 2** | 82 | 3
A. O. SMITH | HPV10-80H01DV 2** | 82 | 3
RELIANCE WATER HEATERS | 10-80-DHPTV 2** | 82 | 3
RELIANCE WATER HEATERS | 10-66-DHPTV 2** | 68 | 3.2
A. O. SMITH | HPTV-50 2** | 46 | 3
STATE | HPVX-50-DHPT 2** | 46 | 3
AMERICAN | HPV10250H009DV 2** | 46 | 3
RELIANCE WATER HEATERS | 10-50-DHPTV 2** | 46 | 3

## Split-System HPWH
Data current as of 09-11-2024
The data provided are the representations submitted to DOE by manufacturers and their third party representatives. DOE makes no representations or warranties regarding the accuracy of the data.
Brand | Model Number | Rated Storage Volume (gal) | Uniform Energy Factor (UEF)
No Models